# Assessment Requirements for UEPOPS068 Operate a hydro generator synchronous condenser pump unit

Release: 1

Assessment Requirements for UEPOPS068 Operate a hydro generator synchronous condenser pump unit

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Electricity Supply Industry - Generation Sector Training Package Release 2.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least two separate occasions and include:

applying work health and safety (WHS)/occupational health and safety (OHS) requirements, including: risk control measures emergency procedures safe working practices communicating with personnel completing workplace documentation identifying and responding to abnormal plant operating conditions implementing regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements interpreting manuals monitoring and inspecting hydro generator synchronous condenser pump unit plant operations operating hydro generator synchronous condenser pump unit plant organising resources planning hydro generator synchronous condenser pump unit plant work recognising hydro turbine generator/pump unit plant status reporting on hydro generator pump unit plant status testing hydro turbine generator synchronous condenser pump unit plant operationally using diagnostic and data analysis techniques utilising measuring and testing instruments to identify faults and abnormalities.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and include knowledge of:

arrangements of power production plant hydro turbine generator synchronous condenser pump unit plant and equipment, location and operating parameters hydro turbine generator synchronous condenser pump unit plant operation manuals regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements WHS/OHS requirements, including: emergency procedures risk control measures safe working practices workplace documentation workplace policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8