# Assessment Requirements for UEPOPS082 Operate and monitor boiler draught system

Release: 1

Assessment Requirements for UEPOPS082 Operate and monitor boiler draught system

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Electricity Supply Industry – Generation Sector Training Package Release 2.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least two separate occasions and include:

analysing boiler draught system plant to identify and respond to abnormal boiler draught system plant operating conditions applying work health and safety (WHS)/occupational health and safety (OHS) requirements, including emergency procedures safe working practices risk control measures communicating with personnel completing documentation executing corrective actions for faults identifying boiler draught system plant faults using data analysis techniques and tools identifying boiler draught system plant status implementing regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements interpreting drawings and manuals isolating boiler draught system monitoring and inspecting boiler draught system plant operation, including combustion, fans, air flow and control operating boiler draught system plant organising resources preparing boiler draught system plant and equipment for operation and planning work testing boiler draught system plant operation using diagnostic and testing techniques using permit to work system.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and include knowledge of:

arrangements of power production plant boiler draught system faults and corrective actions boiler draught system plant and equipment, location and operating parameters, including combustion, fans, air flow and control boiler draught system plant status isolations requirements manuals permit to work system regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements WHS/OHS requirements, including: emergency procedures risk control measures safe working practices workplace documentation workplace policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8