# UEPOPS084 Operate and monitor brine concentrator plant

Release: 1

UEPOPS084 Operate and monitor brine concentrator plant

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Electricity Supply Industry – Generation Sector Training Package Release 2.0.

# Application

This unit involves the skills and knowledge required to operate, inspect and monitor brine concentrator plant. Power generation facilities produce wastewater that contains minerals and solids. Brine concentrators are used to remove these impurities as part of the wastewater management and treatment process. Competency in this unit requires the ability to plan work, operate brine concentrator plant, test brine concentrator plant, analyse brine concentrator plant faults, monitor and inspect brine concentrator plant, and complete all documentation. Individuals will, in general, work under supervision, in a power generation facility as an operator. Power generation plant operators are trained and authorised to isolate, prepare plant and issue permits to work. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

There are no prerequisite units.

# Competency Field

Operations

# Unit Sector

Electricity generation

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Plan and prepare work | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, environmental requirements and workplace procedures are identified, applied and monitored |
|  |  | 1.2 | Work requirements are identified from relevant personnel and documentation in accordance with workplace procedures |
|  |  | 1.3 | Documentation to determine brine concentrator plant status is assessed and evaluated in accordance with workplace procedures |
|  |  | 1.4 | Inspection and field preparations for brine concentrator service are carried out in accordance with manufacturers’ recommendations and specifications, and workplace procedures |
|  |  | 1.5 | Brine concentrator plant operational prerequisites are established in accordance with manufacturers’ recommendations and specifications, and workplace procedures |
|  |  | 1.6 | Sequence for recommissioning of brine concentrator plant is determined in accordance with workplace procedures |
| 2 | Operate brine concentrator plant | 2.1 | Brine concentrator plant is operated in accordance with manufacturers’ recommendations and specifications, and workplace procedures |
|  |  | 2.2 | Brine concentrator plant is monitored and observed to detect deviations from normal operating conditions in accordance with workplace procedures |
|  |  | 2.3 | Corrective actions are taken to rectify brine concentrator abnormalities in accordance with manufacturers’ recommendations and specifications, and workplace procedures |
|  |  | 2.4 | Brine concentrator plant is identified and removed from service in accordance with workplace procedures |
| 3 | Test brine concentrator plant operation | 3.1 | Operational tests are performed in accordance with workplace procedures |
|  |  | 3.2 | Brine concentrator plant is observed for correct operational response in accordance with workplace procedures |
|  |  | 3.3 | Brine concentrator plant is returned to required operational status upon completion of testing in accordance with workplace procedures |
| 4 | Analyse brine concentrator plant faults | 4.1 | Cause of abnormal brine concentrator plant operating conditions are identified by analysing technical and operational information in accordance with workplace procedures |
|  |  | 4.2 | Brine concentrator plant integrity and personnel safety is maintained in consultation with relevant personnel and technical and operational documentation in accordance with workplace procedures |
| 5 | Monitor and inspect brine concentrator plant | 5.1 | Brine concentrator plant to be monitored and inspected is physically identified in accordance with workplace procedures |
|  |  | 5.2 | Brine concentrator plant is monitored and inspected for normal operation and to detect deviations in accordance with workplace procedures |
| 6 | Complete documentation | 6.1 | Brine concentrator plant problems, movements, abnormalities and status are reported in accordance with workplace procedures |
|  |  | 6.2 | Documentation is updated in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEP Electricity Supply Industry – Generation Sector Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEPOPS324 Operate and monitor brine concentrator plant.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8

Assessment Requirements for UEPOPS084 Operate and monitor brine concentrator plant

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Electricity Supply Industry – Generation Sector Training Package Release 2.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least two separate occasions and include:

analysing brine concentrator plant faults using data analysis techniques and tools applying work health and safety (WHS)/occupational health and safety (OHS) requirements, including: chemical uses and hazards emergency procedures risk control measures safe working practices communicating with personnel completing documentation using recording procedures identifying brine concentrator plant status implementing regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements interpreting manuals monitoring and inspecting brine concentrator plant operation operating brine concentrator plant organising resources preparing and planning work recognising and responding to abnormal brine concentrator plant operating conditions testing brine concentrator plant operationally using diagnostic and testing techniques working with brine concentrator plant and equipment working with permit to work system.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and include knowledge of:

arrangements of power production plant brine concentrator plant and equipment, location and operating parameters brine concentrator plant status manuals permit to work system recording procedures regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements safe operating principles WHS/OHS requirements, including: chemical uses and hazards emergency procedures risk control measures safe working practices workplace documentation workplace policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8