# UEPOPS085 Operate and monitor communications system

Release: 1

UEPOPS085 Operate and monitor communications system

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Electricity Supply Industry – Generation Sector Training Package Release 2.0.

# Application

This unit involves the skills and knowledge required to operate and monitor a communications system. A communications system includes the various processes, both formal and informal, by which information is passed between personnel within a power generation facility itself and its clients, customers and stakeholders. Competency in this unit requires the ability to plan work, operate and monitor a communications system and complete all documentation. Individuals will, in general, work under supervision, in a power generation facility as an operator. No licensing, legislative or certification requirements apply from this unit at the time of publication.

# Pre-requisite Unit

There are no prerequisite units

# Competency Field

Operations

# Unit Sector

Electricity generation

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Select and use equipment | 1.1 | Communication systems are identified from relevant personnel and documentation in accordance with workplace procedures |
|  |  | 1.2 | Work health and safety (WHS)/occupational health and safety (OHS) regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, environmental requirements and workplace procedures are identified, applied and monitored |
|  |  | 1.3 | Communication procedures for opening, passing and receiving messages are implemented in accordance with workplace procedures |
|  |  | 1.4 | Communication equipment is used in accordance with workplace procedures |
|  |  | 1.5 | Limitations of communication system are identified and alternatives used in accordance with workplace procedures |
| 2 | Monitor communication system | 2.1 | Data acquisition is monitored and assessed for quality and action is taken in accordance with workplace procedures |
|  |  | 2.2 | Need for communication assistance is identified and addressed in accordance with job requirements and workplace procedures |
| 3 | Complete documentation | 3.1 | Communication equipment problems and status is reported in accordance with workplace procedures |
|  |  | 3.2 | Documentation is updated in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEP Electricity Supply Industry – Generation Sector Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEPOPS203 Operate and monitor communications system.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8