# Assessment Requirements for UEPOPS113 Operate fabric filter dust collection plant

Release: 1

Assessment Requirements for UEPOPS113 Operate fabric filter dust collection plant

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Electricity Supply Industry – Generation Sector Training Package Release 2.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least two separate occasions and include:

applying regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements applying work health and safety (WHS)/occupational health and safety (OHS) requirements, including: emergency procedures risk control measures safe working practices communicating with personnel completing documentation using recording procedures identifying and inspecting fabric filter dust collection plant status interpreting manuals monitoring fabric filter dust collection plant operation operating fabric filter dust collection plant operationally testing fabric filter dust collection plant using diagnostic and data analysis techniques organising resources preparing fabric filter dust collection plant and equipment recognising and responding to abnormal fabric filter dust collection plant operating conditions reporting on fabric filter dust collection plant status using measurement and testing instruments to identify and analyse faults and abnormalities working with permit to work system.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and include knowledge of:

arrangements of power production plant fabric filter dust collection plant and equipment, location and operating parameters fabric filter dust collection plant status manuals operation of fabric filter dust collection plant permit to work system power generation plant and equipment, location and operating parameters regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements test and fault-finding techniques WHS/OHS requirements, including: emergency procedures risk control measures safe working practices workplace documentation workplace policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8