# UEPOPS131 Run up a steam turbine

Release: 1

UEPOPS131 Run up a steam turbine

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Electricity Supply Industry – Generation Sector Training Package Release 2.0.

# Application

This unit involves the skills and knowledge required to conduct a steam turbine run-up to a stable operating condition. Run-up of a steam turbine will involve the operator making a sequence of checks prior to and during start-up. This ensures that loading the turbine is completed in a safe and consistent manner. Competency in this unit requires the ability to plan and prepare steam turbine run-up work, conduct steam turbine run-up, test steam turbine and complete documentation. Individuals will, in general, work under supervision, in a power generation facility as an operator. Power generation plant operators are trained and authorised to isolate, prepare plant and issue permits to work. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

There are no prerequisite units

# Competency Field

Operations

# Unit Sector

Electricity generation

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Plan and prepare steam turbine work | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, environmental requirements and workplace procedures are identified, applied and monitored |
|  |  | 1.2 | Work requirements are identified from relevant personnel and documentation in accordance with workplace procedures |
|  |  | 1.3 | Preoperational checks are carried out on steam turbine plant in accordance with manufacturers’ recommendations and specifications, and workplace procedures |
|  |  | 1.4 | Turbine running-up and loading schedule are ascertained from relevant documentation in accordance with manufacturers’ recommendations and specifications, and workplace procedures |
| 2 | Take action to commence run-up steam turbine | 2.1 | Steam turbine and generator auxiliary systems are made available to support steam turbine run-up in accordance with manufacturers’ recommendations and specifications, and workplace procedures |
|  |  | 2.2 | Steam turbine plant is monitored to detect deviations from normal operating conditions in accordance with workplace procedures |
|  |  | 2.3 | Corrective actions are taken to rectify steam turbine abnormalities in accordance with manufacturers’ recommendations and specifications, and workplace procedures |
|  |  | 2.4 | Steam generator is synchronised and connected to electrical system in accordance with manufacturers’ recommendations and specifications, and workplace procedures |
| 3 | Test steam turbine plant operation | 3.1 | Tests are performed in accordance with workplace procedures |
|  |  | 3.2 | Power generation system and steam turbine plant are observed for operational response in accordance with workplace procedures |
|  |  | 3.3 | Steam turbine plant is returned to required operational status upon completion of testing in accordance with workplace procedures |
| 4 | Analyse system faults | 4.1 | Causes of abnormal steam turbine plant operating conditions are identified by analysing technical and operational information in accordance with workplace procedures |
|  |  | 4.2 | Steam turbine plant integrity and personnel safety is maintained through consultation with relevant personnel and technical and operational documentation in accordance with workplace procedures |
|  |  | 4.3 | Relevant personnel are notified when defects are detected in accordance with workplace procedures |
| 5 | Complete documentation | 5.1 | Steam turbine plant problems, movements and status are reported in accordance with workplace procedures |
|  |  | 5.2 | Documentation is updated in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEP Electricity Supply Industry – Generation Sector Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEPOPS411 Run up a steam turbine.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8

Assessment Requirements for UEPOPS131 Run up a steam turbine

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Electricity Supply Industry – Generation Sector Training Package Release 2.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least two separate occasions and include:

applying work health and safety (WHS)/occupational health and safety (OHS) legislated requirements, including: emergency procedures risk control measures safe working procedures communicating with personnel identifying and responding to abnormal steam turbine plant operating conditions implementing regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements interpreting manuals monitoring and operating steam turbine plant and equipment organise resources planning and preparing steam turbine operations work recognising steam turbine plant status recording procedures to complete documentation starting, running up and operating steam turbine and associated plant and equipment testing gas turbine plant operation using diagnostic and data analysis techniques and tools to determine faults working with permit to work system.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and include knowledge of:

permit to work system regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements steam turbine operating procedures and processes system components and interaction with other plant and equipment, including steam turbine operations turbine supervision and control systems WHS/OHS requirements, including: emergency procedures risk control measures safe working procedures workplace policies and procedures workplace documentation and manuals.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8