# Assessment Requirements for UEPOPS135 Shut down a heat recovery steam generator unit

Release: 1

Assessment Requirements for UEPOPS135 Shut down a heat recovery steam generator unit

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Electricity Supply Industry – Generation Sector Training Package Release 2.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least two separate occasions and include:

applying work health and safety (WHS)/occupational health and safety (OHS) legislation, including: emergency procedures risk control measures safe working practices communicating with personnel completing documentation using recording procedures identifying heat recovery steam generator (HRSG) plant status interpreting manuals implementing regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements organising resources planning for HRSG plant shutdown preparing and operating HRSG plant and equipment responding to abnormal HRSG plant operating conditions shutting down HRSG plant operations testing HRSG plant operation using diagnostic and data analysis techniques and tools to determine faults using temperature and pressure reducing techniques and principles working with permit to work system.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and include knowledge of:

arrangements of power production plant control of steam temperature and pressure throughout full range of HRSG operation up to and including maximum continuous rating depressurisation and cooling HRSG gas path and water and steam circuits HRSG system components and the interaction of these components with other power generation plant and equipment manuals operation techniques for HRSG plant and equipment permit to work system regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements WHS/OHS requirements, including: emergency procedures risk control measures safe working practices workplace documentation workplace policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8