# Assessment Requirements for UEPOPS136 Shut down a hydro turbine

Release: 1

Assessment Requirements for UEPOPS136 Shut down a hydro turbine

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Electricity Supply Industry – Generation Sector Training Package Release 2.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least two separate occasions and include:

applying work health and safety (WHS)/occupational health and safety (OHS) requirements, including: emergency procedures risk control measures safe working practices communicating with personnel conducting safe and controlled shutdown of hydro turbine plant and equipment identifying hydro turbine plant status implementing regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements interpreting manuals preparing hydro turbine plant and equipment for operation recognising and responding to abnormal plant operating conditions testing hydro turbine plant operationally using diagnostic and analysis techniques and to determine faults using recording procedures to complete documentation working with the permit to work system.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and include knowledge of:

arrangements of hydro power production plant hydro turbine operational processes hydro turbine plant and equipment, location and operating parameters hydro turbine plant system components and interaction hydro turbine supervision and control systems manuals online condition monitoring equipment and trends permit to work system power generation plant status regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements shutdown procedures WHS/OHS requirements, including: emergency procedures risk mitigation control measures safe working practices workplace documentation workplace policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8