# Assessment Requirements for UEPOPS207 Perform plant lubrication

Release: 1

Assessment Requirements for UEPOPS207 Perform plant lubrication

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) regulations including: emergency procedures Personal Protective Equipment (PPE) risk control measures safe working practices Safety Data Sheets (SDS)/Material Safety Data Sheets (MSDS) communicating with personnel completing documentation complying with permit to work requirements implementing hazard identification and risk control measures lubricating power generating plant including: applying lubricants to machinery and equipment conducting checks of power generating plant lubrication determining problems resulting from excessive or inadequate lubricants preparing and planning power generation lubricating work utilising isolation procedures working with permit to work system

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

function and types of lubricants and their application isolations lubrication of plant procedures manufacturers’ specifications and manuals permit to work system problems resulting from excessive or inadequate lubricants typical arrangement of power generation plant WHS/OHS legislated requirements including: emergency procedures Personal Protective Equipment (PPE) risk control measures safe working practices Safety Data Sheets (SDS)/Material Safety Data Sheets (MSDS) workplace documentation workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8