# Assessment Requirements for UEPOPS209 Perform process plant inspections

Release: 1

Assessment Requirements for UEPOPS209 Perform process plant inspections

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

accessing records applying inspection procedures and techniques applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) legislation including: emergency procedures Personal Protective Equipment (PPE) risk control measures safe working practices complying with legislation, industry standards, codes of practice and regulations preparing for inspection of power generation plant conducting equipment isolation procedures recording and communicating inspection results undertaking inspection of power generation plant and equipment using manufacturers’ specifications and manuals utilising inspection checklists working with permit to work system

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

communication methods for inspection results inspection methods and techniques including protocols isolations legislation, industry standards, codes of practice and regulations manufacturers’ specifications and manuals permit to work system power generation inspection checklists power generation plant inspection records typical arrangements of power generation plant Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) regulations including: emergency procedures Personal Protective Equipment(PPE) risk control measures safe working practices workplace policies and procedures workplace documentation

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8