# Assessment Requirements for UEPOPS211 Clean plant and equipment

Release: 1

Assessment Requirements for UEPOPS211 Clean plant and equipment

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

applying material handling procedures applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) legislated requirements including: emergency procedures hazard identification risk control measures safe working practices using Personal Protective Equipment (PPE) communicating with personnel completing documentation complying with legislation, industry standards, codes of practice and regulations directing residual waste to disposal points handling hazardous materials planning cleaning work protecting power generation plant or equipment selecting appropriate cleaning methods and using cleaning techniques and procedures on industrial plant and equipment using manufacturers’ specifications and manuals using Safety Data Sheets (SDS)/Material Safety Data Sheets (MSDS) working with isolations and permit to work system

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

cleaning equipment and accessories cleaning methods disposal points hazardous materials isolations legislation, industry standards, codes of practice and regulations manufacturers’ specifications and manuals material handling procedures permit to work system protection of power generation plant and equipment Safety Data Sheets (SDS)/material safety data sheets (MSDS) types of cleaning agents, their properties and application WHS/OHS regulations including: emergency procedures hazard identification Personal Protective Equipment (PPE) risk control measures safe working practices workplace documentation workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8