# Assessment Requirements for UEPOPS242 Operate and monitor dust collection plant

Release: 1

Assessment Requirements for UEPOPS242 Operate and monitor dust collection plant

# Modification History

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

analysing dust collection plant faults using data analysis techniques and tools applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) requirements including: emergency procedures risk control measures safe working practices communicating with personnel completing documentation using recording procedures complying with legislation, industry standards, codes of practice and regulations identifying and responding to abnormal dust collection plant operating conditions interpreting manufacturers’ specifications and manuals monitoring and inspecting dust collection plant operations operating dust collection dust collection plant organising resources preparing and planning work preparing dust collection plant and equipment for operation recognising and identifying dust collection plant status testing dust collection plant operationally using diagnostic and test techniques working with permit to work system

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

dust collection plant and equipment, its location and operating parameters dust collection plant status legislation, industry standards, codes of practice and regulations manufacturers’ specifications and manuals permit to work system safe operating principles typical arrangements of power production plant WHS/OHS legislated requirements including: emergency procedures risk control measures safe working practices workplace documentation workplace policies and procedures

# Knowledge Evidence

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Assessment Conditions

UEP Training Package Companion Volume Implementation Guide at: [sector webpage link here]

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8