# Assessment Requirements for UEPOPS246 Operate waste and contaminated water plant

Release: 1

Assessment Requirements for UEPOPS246 Operate waste and contaminated water plant

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) regulations including: emergency procedures risk control measures safe working practices communicating with personnel completing documentation complying with legislation, industry standards, codes of practice and regulations identifying and responding to abnormal waste and contaminated water plant operating conditions interpreting drawings and manufacturers’ specifications and manuals monitoring and inspecting waste and contaminated water plant operating waste contaminated water plant organising resources planning work preparing waste and contaminated water plant or equipment for operation reporting on waste and contaminated water plant status testing waste and contaminated water plant using diagnostic and data analysis techniques using testing and measurement instruments to identify faults and abnormalities working with permit to work system

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

legislation, industry standards, codes of practice and regulations manufacturers’ manuals and specifications permit to work system testing and fault finding techniques typical arrangements of power production plant waste and contaminated water plant and equipment, its location and operating parameters WHS/OHS regulations including: emergency procedures risk control measures safe working practices workplace documentation workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8