# UEPOPS301 Conduct single energy source isolation procedures for permit to work

Release: 1

UEPOPS301 Conduct single energy source isolation procedures for permit to work

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Application

This unit involves the skills and knowledge required to conduct single energy source isolation procedures for permits to work. A permit to work system is a formal method used to control certain types of work that can be potentially hazardous. A permit to work specifies the work to be completed, the precautions to be taken and the timeframe for completion. Competency in this unit requires the ability to plan and prepare for isolation, de-isolation and restoration, perform isolation and perform de-isolation and restoration. Individuals will, in general, work as an operator in a power generation facility. Power generation plant operators are typically trained and authorised to isolate, prepare plant and issue permits to work. No licensing, legislative or certification requirements apply to this unit at the time of publication. Note: Workplace procedures The application of the skills and knowledge described in this unit may require a licence or training permit to practice in the workplace where work is carried out on gas and electrical installations. Additional conditions may apply under state and territory legislative and regulatory licensing requirements.

# Pre-requisite Unit

There are no prerequisite units.

# Competency Field

Operations

# Unit Sector

Electricity generation

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Plan and prepare for single energy source isolation | 1.1 | Work requirements, including permits to work, are identified, in accordance with workplace procedures and are confirmed with appropriate personnel or by site inspection |
|  |  | 1.2 | Safety issues including Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) regulations and industry standards are identified, in accordance with workplace procedures |
|  |  | 1.3 | Materials, tools, equipment and resources are obtained and inspected, in accordance with workplace procedures |
|  |  | 1.4 | Isolation work is sequenced and prioritised, in accordance with workplace procedures and permit requirements |
|  |  | 1.5 | Permit to work is coordinated with other personnel involved in, or affected by isolations, in accordance with workplace procedures |
|  |  | 1.6 | Personnel participating in work are briefed, with roles and responsibilities confirmed, in accordance with workplace procedures |
| 2 | Perform single energy source isolation | 2.1 | Single energy source to be isolated, is correctly identified, in accordance with workplace procedures |
|  |  | 2.2 | Isolation is performed, in accordance with workplace procedures and permit to work requirements |
|  |  | 2.3 | Isolation, dissipation and restraint of energy sources is verified, in accordance with workplace procedures |
|  |  | 2.4 | Isolation is confirmed, in accordance with workplace procedures |
| 3 | Perform single energy source de-isolation and restoration | 3.1 | Single energy source de-isolation and restorations are performed, in accordance with workplace procedures and permit requirements |
|  |  | 3.2 | Single energy source de-isolations are confirmed, in accordance with workplace procedures |
|  |  | 3.3 | Work completion details are finalised, in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEPOPS301B Conduct single energy source isolation procedures for permit to work.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8

Assessment Requirements for UEPOPS301 Conduct single energy source isolation procedures for permit to work

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) requirements including: emergency procedures hazard identification risk control measures safe working practices communicating with personnel completing de-isolations and restorations completing documentation coordinating and briefing others on permit to work identifying power generating plant status implementing legislation, industry standards, codes of practice and regulations interpreting power generation plant and equipment diagrams obtaining authorisation for single energy source isolation performing isolations, de-isolations and restorations planning and preparing for isolation, de-isolation and restoration preparing power generating plant or equipment for isolation operation using permit to work system utilising isolations including lock and tag systems working with equipment, tools, materials and resources

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

documentation requirements equipment, tools, materials and resources for use legislation, industry standards, codes of practice and regulations lock and tag system manufacturers’ specifications and manuals permit to work system power generating plant and equipment, its location and operating parameters power generating plant status power generation plant and equipment drawings and diagrams single energy source isolations, mechanical isolations, de-isolations and restorations methods and techniques typical arrangements of power production plant WHS/OHS legislated requirements including: emergency procedures hazard identification risk control measures safe working practices workplace documentation workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8