# UEPOPS301 Conduct single energy source isolation procedures for permit to work

Release: 1

UEPOPS301 Conduct single energy source isolation procedures for permit to work

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Application

This unit involves the skills and knowledge required to conduct single energy source isolation procedures for permits to work. A permit to work system is a formal method used to control certain types of work that can be potentially hazardous. A permit to work specifies the work to be completed, the precautions to be taken and the timeframe for completion. Competency in this unit requires the ability to plan and prepare for isolation, de-isolation and restoration, perform isolation and perform de-isolation and restoration. Individuals will, in general, work as an operator in a power generation facility. Power generation plant operators are typically trained and authorised to isolate, prepare plant and issue permits to work. No licensing, legislative or certification requirements apply to this unit at the time of publication. Note: Workplace procedures The application of the skills and knowledge described in this unit may require a licence or training permit to practice in the workplace where work is carried out on gas and electrical installations. Additional conditions may apply under state and territory legislative and regulatory licensing requirements.

# Pre-requisite Unit

There are no prerequisite units.

# Competency Field

Operations

# Unit Sector

Electricity generation

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Plan and prepare for single energy source isolation | 1.1 | Work requirements, including permits to work, are identified, in accordance with workplace procedures and are confirmed with appropriate personnel or by site inspection |
|  |  | 1.2 | Safety issues including Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) regulations and industry standards are identified, in accordance with workplace procedures |
|  |  | 1.3 | Materials, tools, equipment and resources are obtained and inspected, in accordance with workplace procedures |
|  |  | 1.4 | Isolation work is sequenced and prioritised, in accordance with workplace procedures and permit requirements |
|  |  | 1.5 | Permit to work is coordinated with other personnel involved in, or affected by isolations, in accordance with workplace procedures |
|  |  | 1.6 | Personnel participating in work are briefed, with roles and responsibilities confirmed, in accordance with workplace procedures |
| 2 | Perform single energy source isolation | 2.1 | Single energy source to be isolated, is correctly identified, in accordance with workplace procedures |
|  |  | 2.2 | Isolation is performed, in accordance with workplace procedures and permit to work requirements |
|  |  | 2.3 | Isolation, dissipation and restraint of energy sources is verified, in accordance with workplace procedures |
|  |  | 2.4 | Isolation is confirmed, in accordance with workplace procedures |
| 3 | Perform single energy source de-isolation and restoration | 3.1 | Single energy source de-isolation and restorations are performed, in accordance with workplace procedures and permit requirements |
|  |  | 3.2 | Single energy source de-isolations are confirmed, in accordance with workplace procedures |
|  |  | 3.3 | Work completion details are finalised, in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEPOPS301B Conduct single energy source isolation procedures for permit to work.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8