# Assessment Requirements for UEPOPS309 Operate and monitor air conditioning plant and ventilation systems

Release: 1

Assessment Requirements for UEPOPS309 Operate and monitor air conditioning plant and ventilation systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) requirements including: emergency procedures risk control measures safe working practices communicating with personnel completing documentation using recording procedures identifying air conditioning plant and ventilation system status implementing legislation, industry standards, codes of practice and regulations interpreting manufacturers’ specifications and manuals monitoring and inspecting air conditioning plant and ventilation system operating air conditioning plant and ventilation system including temperature and air flow using data analysis techniques and tools operating and monitoring air conditioning plant, equipment and ventilation system organising resources preparing air conditioning plant and ventilation system for operation preparing and planning work recognising and responding to abnormal faults in air conditioning plant and ventilation system operating conditions testing air conditioning plant and ventilation system operation using diagnostic test techniques and procedures utilising repair techniques and procedures working with permit to work system

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

air conditioning and ventilation system plant status manufacturers’ specifications and manuals legislation, industry standards, codes of practice and regulations permit to work system typical arrangements of power production plant plant and equipment, its location and operating parameters including: air conditioner systems ventilation systems refrigerant gases WHS/OHS legislated requirements including: emergency procedures risk control measures safe working practices workplace documentation workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8