# Assessment Requirements for UEPOPS310 Operate bulk coal handling plant

Release: 1

Assessment Requirements for UEPOPS310 Operate bulk coal handling plant

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) including: emergency procedures risk control measures safe working practices blending and bunkering coal communicating with personnel completing documentation identifying and inspecting bulk coal handling plant status implementing legislation, industry standards, codes of practice and regulations interpreting manufacturers’ specifications and manuals monitoring bulk coal handling plant operation operating bulk coal handling plant organising resources preparing and planning bulk coal handling plant and equipment recognising and responding to abnormal bulk coal handling plant operating conditions reporting on bulk coal handling plant status testing bulk coal handling plant using diagnostic and data analysis techniques using measuring and testing instruments to identify faults and abnormalities

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

bulk coal handling plant and equipment, its location and operating parameters coal blending procedures legislation, industry standards, codes of practice and regulations manufacturers’ specifications and manuals testing and fault finding techniques typical arrangements of power production plant WHS/OHS regulations including: risk control measures emergency procedures safe working practices workplace documentation workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8