# Assessment Requirements for UEPOPS324 Operate and monitor brine concentrator plant

Release: 1

Assessment Requirements for UEPOPS324 Operate and monitor brine concentrator plant

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

analysing brine concentrator plant faults using data analysis techniques and tools applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) requirements including: chemical uses and hazards emergency procedures risk control measures safe working practices communicating with personnel completing documentation using recording procedures identifying brine concentrator plant status implementing legislation, industry standards, codes of practice and regulations interpreting manufacturers’ specifications and manuals monitoring and inspecting brine concentrator plant operation operating brine concentrator plant organising resources preparing and planning work recognising and responding to abnormal brine concentrator plant operating conditions testing brine concentrator plant operationally using diagnostic and test techniques working with brine concentrator plant and/or equipment working with permit to work system

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

brine concentrator plant and equipment, its location and operating parameters brine concentrator plant status legislation, industry standards, codes of practice and regulations manufacturers’ specifications and manuals permit to work system recording procedures safe operating principles typical arrangements of power production plant WHS/OHS legislated requirements including: chemical uses and hazards emergency procedures risk control measures safe working practices workplace documentation workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8