# Assessment Requirements for UEPOPS325 Operate and monitor water quality monitoring systems

Release: 1

Assessment Requirements for UEPOPS325 Operate and monitor water quality monitoring systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

analysing water quality monitoring system plant faults using data analysis techniques and tools applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) requirements including: emergency procedures risk control measures safe working practices including use of Safety Data Sheets (SDS)/Material Safe Handling Data Sheets (MSDS) communicating with personnel completing documentation using recording procedures identifying water quality monitoring system plant status interpreting manufacturers’ specifications and manuals legislation, industry standards, codes of practice and regulations monitoring and inspecting water quality monitoring system plant operation operating water quality monitoring system plant organising resources preparing and planning work recognising and responding to abnormal water quality monitoring system plant operating conditions testing water quality monitoring system plant operationally using diagnostic and test techniques using permit to work system working with water quality monitoring system plant and/or equipment

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

legislation, industry standards, codes of practice and regulations manufacturers’ specifications and manuals permit to work system typical arrangements of power production plant including general responsibilities for power production plant operations water quality monitoring system plant and equipment, its location and operating parameters water quality monitoring system plant status WHS/OHS legislated requirements including: emergency procedures risk control measures safe working practices including use of Safety Data Sheets (SDS)/Material Safe Handling Data Sheets (MSDS) workplace documentation workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8