# UEPOPS326 Operate and monitor oil systems

Release: 1

UEPOPS326 Operate and monitor oil systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Application

This unit involves the skills and knowledge required to operate, monitor and inspect oil systems. Power generation facilities rely on oil systems to run power generation applications. Maintaining clean oil systems is essential to equipment and plant reliability. Competency in this unit requires the ability to plan work, operate oil systems plant, test oil systems plant, analyse oil systems plant faults, monitor and inspect oil systems plant and the completion of all documentation. Individuals will, in general, work under supervision, in a power generation facility as an operator. Power generation plant operators are typically trained and authorised to isolate, prepare plant and issue permits to work. No licensing, legislative or certification requirements apply to this unit at the time of publication. Note: Workplace practice The application of the skills and knowledge described in this unit may require a licence or training permit to practice in the workplace where work is carried out on gas and electrical installations. Additional conditions may apply under state and territory legislative and regulatory licensing requirements.

# Pre-requisite Unit

There are no prerequisite units.

# Competency Field

Operations

# Unit Sector

Electricity generation

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Plan and prepare work | 1.1 | Safety issues related to operating and monitoring oil system plant are identified, in accordance with workplace procedures and Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) regulations and legislative requirements |
|  |  | 1.2 | Work requirements are identified, in accordance with workplace procedures from appropriate personnel and documentation |
|  |  | 1.3 | Documentation to determine oil system plant status is assessed and evaluated, in accordance with workplace procedures |
|  |  | 1.4 | Inspection, preoperational checks and field preparations for oil system service are carried out, in accordance with workplace procedures and manufacturers’ recommendations |
|  |  | 1.5 | Oil system plant operational prerequisites are established, in accordance with workplace procedures and manufacturers’ recommendations |
|  |  | 1.6 | Sequence for recommissioning of oil system plant is determined, in accordance with workplace procedures and site requirements |
| 2 | Operate oil system plant | 2.1 | Oil system plant is operated, in accordance with workplace procedures and manufacturers’ operating recommendations |
|  |  | 2.2 | Oil system plant is monitored and observed, in accordance with workplace procedures, to detect deviations from normal operating conditions |
|  |  | 2.3 | Corrective actions are taken, to rectify oil system plant abnormalities, in accordance with workplace procedures, industry standards and site requirements |
|  |  | 2.4 | Oil system plant is removed from service, in accordance with workplace procedures and site requirements |
| 3 | Test oil system plant operation | 3.1 | Operational tests are performed, in accordance with workplace procedures |
|  |  | 3.2 | Oil systems plant is observed for correct operational response, in accordance with workplace procedures |
|  |  | 3.3 | Corrective action is taken when response does not meet with documentation, oil system plant integrity or personnel safety requirements |
|  |  | 3.4 | Oil system plant is returned to required operational status upon completion of testing, in accordance with workplace procedures |
| 4 | Analyse oil system plant faults | 4.1 | Causes of abnormal oil system plant operating conditions are identified, in accordance with workplace procedures, and by analysing technical and operational information |
|  |  | 4.2 | Corrective action is taken, in accordance with workplace procedures |
|  |  | 4.3 | Oil system plant integrity and personnel safety is maintained, in accordance with workplace procedures, and by consultation with appropriate personnel and technical and operational documentation |
| 5 | Monitor and inspect oil system plant | 5.1 | Oil system plant to be monitored and/or inspected is physically identified, in accordance with workplace procedures |
|  |  | 5.2 | Oil system plant is monitored and/or inspected, in accordance with workplace procedures, to detect deviations from normal operating conditions |
|  |  | 5.3 | Corrective action is taken, in accordance with workplace procedures |
|  |  | 5.4 | Appropriate personnel are notified when defects are detected, in accordance with workplace procedures |
| 6 | Complete documentation | 6.1 | Oil system plant problems, movements, abnormalities and status are reported, in accordance with workplace procedures |
|  |  | 6.2 | Documentation is updated, in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEPOPS326B Operate and monitor oil systems.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8