# Assessment Requirements for UEPOPS343 Operate hydroelectric generating plant and auxiliary equipment

Release: 1

Assessment Requirements for UEPOPS343 Operate hydroelectric generating plant and auxiliary equipment

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) legislated requirements including: emergency procedures risk control measures safe working practices communicating with personnel completing workplace documentation implementing legislation, industry standards, codes of practice and regulations inspecting and monitoring hydroelectric generating plant and auxiliary equipment interpreting manufacturers’ specifications and manuals operating hydroelectric generating plant and auxiliary equipment organising resources planning hydroelectric generating plant and auxiliary equipment work recognising and responding to abnormal hydroelectric generating plant and auxiliary equipment operating conditions using diagnostic and data analysis techniques reporting on hydroelectric generating plant and auxiliary equipment status testing hydroelectric generating plant and auxiliary equipment operationally using testing and measurement instruments to identify faults and abnormalities working with permit to work system

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and include knowledge of:

hydroelectric generating plant and auxiliary equipment, its location and operating parameters manufacturers’ specifications and manuals permit to work system typical arrangements of power generation plant WHS/OHS legislated requirements including: emergency procedures risk control measures safe working practices workplace policies and procedures workplace documentation hydroelectric generating plant and auxiliary equipment operation and status

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8