# Assessment Requirements for UEPOPS344 Conduct water conveyance and control

Release: 1

Assessment Requirements for UEPOPS344 Conduct water conveyance and control

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) requirements including: emergency procedures risk control measures safe working practices communicating with personnel completing documentation using documenting, reporting and recording procedures implementing legislation, industry standards, codes of practice and regulations interpreting manufacturers’ specifications and manuals managing water supplies for hydro power generation planning and preparing for work responding to abnormal storage, conveyance and control hydro system operating conditions using flood control utilising testing and diagnostic techniques working with water control systems

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

hydro equipment operation including capacity and limitations hydro power generating plant and equipment, its location and operating parameters hydroelectric generation including hydro turbine, hydro turbine governor and hydro generator types and characteristics implementation of flood control legislation, industry standards, codes of practice and regulations management of water supplies for hydro generation manufacturers’ specifications and manuals typical arrangements of hydro power production plant water control systems WHS/OHS legislated requirements including: emergency procedures risk control measures safe working practices workplace documentation workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8