# Assessment Requirements for UEPOPS347 Operate and monitor supervisory, control and data acquisition systems

Release: 1

Assessment Requirements for UEPOPS347 Operate and monitor supervisory, control and data acquisition systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

applying legislation, industry standards, codes of practice and regulations applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) requirements including: emergency procedures risk control measures safe work practices communicating with personnel enhancing screen display managing screen based equipment including the full range of applications monitoring and interpreting information from Supervisory Control and Data Acquisition (SCADA) operating screen displays responding and prioritising response to alarms using manufacturers’ specifications and manuals

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

alarm systems Distributed Control System (DCS) legislation, industry standards, codes of practice and regulations manufacturers’ specifications and manuals remote telemetry and data acquisition Supervisory Control and Data Acquisition (SCADA) system Windows operating system WHS/OHS legislated requirements including: emergency procedures risk control measures safe work practices workplace documentation workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8