# UEPOPS347 Operate and monitor supervisory, control and data acquisition systems

Release: 1

UEPOPS347 Operate and monitor supervisory, control and data acquisition systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Application

This unit involves the skills and knowledge required to undertake monitoring and operation of screen based Supervisory, Control and Data Acquisition (SCADA) systems. SCADA is a control system that uses computers, networked data communications and graphic interfaces. It may also use other peripheral devices to interface with process plant and/or machinery in power generation facilities. Competency in this unit requires the ability to operate SCADA, monitor and interpret information and enhance screen display. Individuals will, in general, work under supervision, in a power generation facility as an operator. Power generation plant operators are typically trained and authorised to isolate, prepare plant and issue permits to work. No licensing, legislative or certification requirements apply to this unit at the time of publication. Note: Workplace practice The application of the skills and knowledge described in this unit may require a licence or training permit to practice in the workplace where work is carried out on gas and electrical installations. Additional conditions may apply under state and territory legislative and regulatory licensing requirements.

# Pre-requisite Unit

There are no prerequisite units.

# Competency Field

Operations

# Unit Sector

Electricity generation

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Operate SCADA screen displays | 1.1 | Safety issues related to operating and monitoring a Supervisory Control and Data Acquisition (SCADA) system are identified, in accordance with workplace procedures and Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) regulations and legislative requirements |
|  |  | 1.2 | SCADA system requirements are identified, in accordance with workplace procedures, from appropriate personnel and documentation |
|  |  | 1.3 | Screen displays and applications are identified and retrieved, in accordance with workplace procedures and SCADA system requirements |
|  |  | 1.4 | Functions available from the screen based equipment are identified and selected, in accordance with workplace procedures and SCADA system requirements |
|  |  | 1.5 | Functions available from screen based equipment are utilised, in accordance with workplace procedures and SCADA system requirements |
| 2 | Monitor and interpret SCADA information | 2.1 | Screen displays are monitored, in accordance with workplace procedures and SCADA system requirements |
|  |  | 2.2 | Abnormal values or faults are identified by analysis of information obtained from screen displays, in accordance with workplace procedures and SCADA system requirements |
|  |  | 2.3 | Corrective action is taken, in accordance with workplace procedures and SCADA system requirements |
|  |  | 2.4 | Alarms are acknowledged, prioritised and responded to in accordance with workplace procedures and SCADA system requirements |
| 3 | Enhance SCADA screen display | 3.1 | Requirements for the development of new screen displays are identified and confirmed, in accordance with workplace procedures and SCADA system requirements |
|  |  | 3.2 | New screen displays are researched, assessed and confirmed with appropriate personnel, in accordance with workplace procedures and SCADA system requirements |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEPOPS347B Operate and monitor supervisory, control and data acquisition systems.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8