# UEPOPS352 Conduct operational checks on in-service mechanical plant

Release: 1

UEPOPS352 Conduct operational checks on in-service mechanical plant

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Application

This unit involves the skills and knowledge required to conduct operational checks on in-service mechanical plant. Mechanical plant refers to the infrastructure used in the operation and maintenance of power generating facilities. An operational check is the verification that a group of components are working together. An operational check consists of running in-service mechanical plant to ensure that all the systems function together safely. Competency in this unit requires the ability to plan for plant in-service checks, carry out in-service mechanical checks and complete work. Individuals will, in general, work as an operator in a power generation facility. Power generation plant operators are typically trained and authorised to isolate, prepare plant and issue permits to work. No licensing, legislative or certification requirements apply to this unit at the time of publication. Note: Workplace practice The application of the skills and knowledge described in this unit may require a licence or training permit to practice in the workplace where work is carried out on gas and electrical installations. Additional conditions may apply under state and territory legislative and regulatory licensing requirements.

# Pre-requisite Unit

There are no prerequisite units.

# Competency Field

Operations

# Unit Sector

Electricity generation

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Plan for mechanical plant in-service checks | 1.1 | Safety issues and Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) regulations and industry standards are identified, in accordance with workplace procedures |
|  |  | 1.2 | Work, in-service mechanical plant and resource requirements are identified from work orders and documentation, in accordance with workplace procedures |
|  |  | 1.3 | In-service mechanical plant status and work requirements are confirmed with appropriate personnel or by site inspection, in accordance with workplace procedures |
|  |  | 1.4 | Equipment is checked for correct calibration and operation and materials or components are obtained and inspected, in accordance with workplace procedures |
|  |  | 1.5 | Potential hazards are identified and risk control measures are selected, in accordance with workplace procedures |
|  |  | 1.6 | Pre-access checks on in-service mechanical plant are carried out, in accordance with workplace procedures and site requirements |
| 2 | Carry out in-service mechanical plant check | 2.1 | In-service mechanical plant is operated, in accordance with workplace procedures and manufacturers’ recommendations |
|  |  | 2.2 | In-service mechanical plant checks are monitored and observed, in accordance with workplace procedures, to detect deviations from normal operation |
|  |  | 2.3 | Corrective actions are taken to rectify in-service mechanical plant abnormalities, in accordance with manufacturers’ recommendations and workplace procedures |
|  |  | 2.4 | In-service mechanical plant checks are performed, in accordance with workplace procedures |
|  |  | 2.5 | In-service mechanical plant integrity and personnel safety are maintained, in accordance with workplace procedures, and in consultation with personnel and technical and operational documentation |
| 3 | Complete work | 3.1 | In-service mechanical plant checks are completed and control measures are returned to required operational status, where appropriate, in accordance with workplace procedures |
|  |  | 3.2 | Appropriate personnel are notified of completion of work, in accordance with workplace procedures |
|  |  | 3.3 | In-service mechanical plant problems or abnormalities are reported, in accordance with workplace procedures |
|  |  | 3.4 | In-service mechanical plant results are interpreted and documented, in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEPOPS352B Conduct operational checks on in-service mechanical plant.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8