# Assessment Requirements for UEPOPS355 Monitor the implementation of under frequency load shedding

Release: 1

Assessment Requirements for UEPOPS355 Monitor the implementation of under frequency load shedding

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

analysing power generation plant and system using data using data analysis techniques and tools applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) requirements including: communicating with stakeholders implementing legislation, industry standards, codes of practice and regulations interpreting remote indications of power generation plant status monitoring operation of power generation plant and equipment planning and preparing power generation plant and/or equipment for operation recognising abnormal power generation plant operating conditions and determining corrective actions responding to under frequency load shedding operations including: forecasting system load shifting setting load shedding within operational parameters scheduling load shedding to match generator output completing documentation emergency procedures risk control measures safe working practices using manufacturers’ specifications and manuals working with permit to work system

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

legislation, industry standards, codes of practice and regulations manufacturers’ specifications and manuals permit to work system power generation under frequency load shedding plant and equipment, its location and operating parameters typical arrangements of power production plant including power generation plant operating parameters and status under frequency load shedding system components and interactions including: generator capacity load shedding schemes stakeholder communication WHS/OHS legislated requirements including: emergency procedures risk control measures safe working practices workplace documentation workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8