# Assessment Requirements for UEPOPS358 Monitor and maintain wind farm civil assets

Release: 1

Assessment Requirements for UEPOPS358 Monitor and maintain wind farm civil assets

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) requirements including: emergency procedures risk control measures safe working practices clearing waste from work area communicating with personnel completing work identifying and selecting equipment and materials implementing legislation, industry standards, codes of practice and regulations interpreting manufacturers’ specifications and manuals monitoring and maintaining wind farm civil assets using monitoring and maintenance procedures planning and preparing for work storing and maintaining civil asset tools and equipment

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

layout of power generation wind farm facility and associated civil assets legislation, industry standards, codes of practice and regulations manufacturers’ specifications and manuals typical arrangements of wind farm power plant including wind turbine types and characteristics WHS/OHS legislated requirements including: emergency procedures risk control measures safe working practices wind farm civil asset monitoring and maintenance techniques workplace documentation workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8