# Assessment Requirements for UEPOPS371 Carry out operational checks on in-service electrical plant

Release: 1

Assessment Requirements for UEPOPS371 Carry out operational checks on in-service electrical plant

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) legislated requirements including: emergency procedures risk control measures safe working practices carrying out operational checks on in-service electrical plant communicating with personnel completing documentation and reporting on electrical plant using recording procedures identifying electrical plant status implementing legislation, industry standards, codes of practice and regulations interpreting electrical plant manufacturers’ specifications and manuals interpreting remote indication of electrical plant status and condition maintaining electrical plant integrity preparing and planning electrical plant and equipment recognising abnormal electrical plant operating conditions using data acquisition techniques and tools working with permit to work system

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

electrical plant and equipment, its location and operating parameters electrical plant status legislation, industry standards, codes of practice and regulations manufacturers’ specifications and manuals operational checks on in-service electrical plant permit to work system typical arrangements of power production plant WHS/OHS legislated requirements including: emergency procedures risk control measures safe working practices workplace policies and procedures workplace documentation

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8