# UEPOPS402 Conduct multiple energy source isolation procedures for permit to work

Release: 1

UEPOPS402 Conduct multiple energy source isolation procedures for permit to work

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Application

This unit involves the skills and knowledge required for the application of permit to work procedures where multiple energy sources require isolation for safe access to high voltage, low voltage or mechanical apparatus. Permits to work are a formal system used to control high risk activities in power generation facilities. They specify the control measures that will be put in place to minimise risks. Permits ensure that all hazards and precautions have been considered before any hazardous work begins. Competency in this unit requires the ability to plan and prepare for isolation, de-isolation and restoration, perform isolation and perform de-isolation and restoration. Individuals will, in general, work as an operator in a power generation facility. Power generation plant operators are typically trained and authorised to isolate, prepare plant and issue permits to work. No licensing, legislative or certification requirements apply to this unit at the time of publication. Note: Workplace practice The application of the skills and knowledge described in this unit may require a licence or training permit to practice in the workplace where work is carried out on gas and electrical installations. Additional conditions may apply under state and territory legislative and regulatory licensing requirements.

# Pre-requisite Unit

UEPOPS301 Conduct single energy source isolation procedures for permit to work.

# Competency Field

Operations

# Unit Sector

Electricity generation

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Plan and prepare for multiple energy source isolation | 1.1 | Work requirements, including permit to work, are identified and confirmed, in accordance with workplace procedures, with appropriate personnel or by site inspection |
|  |  | 1.2 | Safety issues, Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) regulations and industry standards are identified, in accordance with workplace procedures |
|  |  | 1.3 | Materials, tools, equipment and resources to satisfy job plan and permit to work requirements are requisitioned and inspected for compliance, in accordance with workplace procedures |
|  |  | 1.4 | Isolation work is planned sequenced and prioritised, in accordance with workplace procedures and permit requirements |
|  |  | 1.5 | Permit to work and risk assessment are coordinated with other personnel involved in, or affected by isolations, in accordance with workplace procedures |
|  |  | 1.6 | Personnel participating in work are briefed and roles and responsibilities are confirmed, in accordance with workplace procedures |
| 2 | Perform multiple energy source isolation | 2.1 | Multiple energy source to be isolated is correctly identified, in accordance with workplace procedures |
|  |  | 2.2 | Isolation is performed, in accordance with workplace procedures and permit to work requirements |
|  |  | 2.3 | Verification of isolation, dissipation and restraint of energy sources is performed, in accordance with workplace procedures |
|  |  | 2.4 | Isolation is confirmed, in accordance with workplace procedures |
| 3 | Perform multiple energy source de-isolation and restoration | 3.1 | Multiple energy source de-isolation and restorations are performed, in accordance with workplace procedures and permit to work requirements |
|  |  | 3.2 | Multiple energy source de-isolations are confirmed, in accordance with workplace procedures |
|  |  | 3.3 | Work completion details are finalised, in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEPOPS402B Conduct multiple energy source isolation procedures for permit to work.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8