# UEPOPS416 Monitor implementation of quality control for production and maintenance

Release: 1

UEPOPS416 Monitor implementation of quality control for production and maintenance

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Application

This unit involves the skills and knowledge required to monitor the implementation of production and maintenance quality control procedures at a power generation facility. Quality control is a process used to ensure variations in quality are kept to a minimum. Quality control in a power generation facility will focus on a set of processes and procedures intended to ensure that personnel, plant and equipment operate smoothly and efficiently. Competency in this unit requires the ability to plan for quality control, monitor quality control and complete all documentation. Individuals will, in general, work as an operator, in a power generation facility. Power generation plant operators are typically trained and authorised to isolate, prepare plant and issue permits to work. No licensing, legislative or certification requirements apply to this unit at the time of publication. Note: Workplace practice The application of the skills and knowledge described in this unit may require a licence or training permit to practice in the workplace where work is carried out on gas and electrical installations. Additional conditions may apply under state and territory legislative and regulatory licensing requirements.

# Pre-requisite Unit

UEPOPS337 Maintain quality systems within the team

# Competency Field

Operations

# Unit Sector

Electricity generation

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Plan for quality control | 1.1 | Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) standards, legislative requirements, industry standards, codes of practice, manufacturers’ specifications, environmental obligations and workplace procedures are identified, applied and monitored |
|  |  | 1.2 | Quality control parameters are established for power generation production and maintenance, in accordance with workplace procedures |
|  |  | 1.3 | Quality control process improvement techniques are used, in accordance with workplace procedures, in the identification and resolution of quality variances in power generation |
| 2 | Monitor quality control | 2.1 | Monitoring equipment is checked for correct calibration, and environmental conditions are confirmed, in accordance with workplace procedures, to ensure reliability and accuracy of test results |
|  |  | 2.2 | Quality control procedures for production and maintenance in power generation is monitored, in accordance with workplace procedures |
|  |  | 2.3 | Deviation and fault data is collected and reported, in accordance with workplace procedures |
| 3 | Complete documentation | 3.1 | Calibration records of test equipment is maintained, in accordance with workplace procedures |
|  |  | 3.2 | Documentation is completed, in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEPOPS416B Monitor the implementation of the enterprise’s production maintenance quality control procedures.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8

Assessment Requirements for UEPOPS416 Monitor implementation of quality control for production and maintenance

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) requirements including: emergency procedures risk control measures safe working practices communicating with personnel completing documentation conducting checks and inspections implementing legislation, industry standards, codes of practice and regulations interpreting manufacturers’ specifications and manuals monitoring quality control processes and techniques planning quality control undertaking data analysis working with quality control procedures, processes and techniques

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

data analysis inspection techniques legislation, industry standards, codes of practice and regulations manufacturers’ specifications and manuals power generation plant and equipment, its location and operating parameters quality control procedures, processes and techniques typical arrangements of power production plant WHS/OHS legislated requirements including: emergency procedures risk control measures safe working practices workplace documentation workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8