# UEPOPS417 Monitor and implement environmental site plans and procedures

Release: 1

UEPOPS417 Monitor and implement environmental site plans and procedures

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Application

This unit involves the skills and knowledge required to address the monitoring and implementation of environmental plans and procedures. Environmental planning is the process of meeting legislative and regulatory obligations, identifying risks, determining risk control strategies and responding quickly to incidents. Competency in this unit requires the ability to plan for quality control, monitor quality control and complete all documentation. Individuals will, in general, work as an operator or technician, in a power generation facility. Power generation plant operators are typically trained and authorised to isolate, prepare plant and issue permits to work. No licensing, legislative or certification requirements apply to this unit at the time of publication. Note: Workplace practice The application of the skills and knowledge described in this unit may require a licence or training permit to practice in the workplace where work is carried out on gas and electrical installations. Additional conditions may apply under state and territory legislative and regulatory licensing requirements.

# Pre-requisite Unit

There are no prerequisite units.

# Competency Field

Operations

# Unit Sector

Electricity generation

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare environmental plan and procedures | 1.1 | Environmental site plans and procedures are identified and examined, in accordance with site and project requirements |
|  |  | 1.2 | Environmental risks and impacts are identified for the project, in accordance with workplace procedures |
|  |  | 1.3 | Environmental site plans and procedures are selected, in accordance with the specific project and site requirements |
| 2 | Implement environmental plan and procedures | 2.1 | Emergency procedures are implemented and environmental risks are controlled, in accordance with Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) regulations and site requirements |
|  |  | 2.2 | Environmental activities are carried out, in accordance with workplace procedures and the requirements of the environmental plan |
|  |  | 2.3 | Environmental control procedures are implemented, and maintained and risks are mitigated, in accordance with workplace procedures and site requirements |
| 3 | Review environmental project procedures | 3.1 | Environmental procedures are assessed, using feedback from stakeholders and relevant data |
|  |  | 3.2 | Environmental procedures are reviewed and rewritten, if required, in accordance with workplace procedures |
| 4 | Control environmental incidents | 4.1 | Environmental incidents are identified and controlled, in accordance with the workplace procedures and environmental plan requirements |
|  |  | 4.2 | Environmental incidents are recorded and reported, in accordance with workplace procedures and the environmental plan requirements |
| 5 | Monitor and report on application of environmental plan and procedures | 5.1 | Application of the environmental plan processes and procedures are monitored and documented, in accordance with workplace procedures |
|  |  | 5.2 | Environmental risks and incidents are reported, in accordance with workplace procedures |
|  |  | 5.3 | Review of environmental plan is reported on, in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEPOPS417B Monitor and implement environmental plans and procedures.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8

Assessment Requirements for UEPOPS417 Monitor and implement environmental site plans and procedures

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) requirements including: emergency procedures risk control measures safe working practices communicating with personnel and stakeholders implementing legislation, industry standards, codes of practice and regulations managing environmental incidents including: assessing environmental risks of project including impacts controlling environmental incidents integrating operational activities into review of environmental procedures monitoring project and environmental site using risk control procedures monitoring and reporting on application of environmental plans and procedures preparing to implement environmental plan and procedures reviewing application of environmental plans and procedures working with environmental plans and procedures

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

environmental impact assessments environmental site plans and procedures identification of environmental risks and impact legislation, industry standards, codes of practice and regulations potential incident environmental auditing power generation plant and equipment, its location and operating parameters project planning methods and techniques typical arrangements of power production plant WHS/OHS legislated requirements including: emergency procedures risk control measures safe working practices workplace documentation workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8