# Assessment Requirements for UEPOPS419 Shut down a steam turbine

Release: 1

Assessment Requirements for UEPOPS419 Shut down a steam turbine

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) regulations including: emergency procedures risk control measures safe working practices communicating with personnel completing documentation using recording procedures identifying steam turbine plant status implementing legislation, industry standards, codes of practice and regulations monitoring and operating steam turbine plant and equipment organising resources recognising and responding to abnormal plant operating conditions shutting down steam turbine plant and equipment planning steam turbine plant work testing plant operationally testing steam turbine plant operations using diagnostic and data analysis techniques and tools to determine faults using steam turbine cooling techniques and procedures working with permit to work system

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

legislation, industry standards, codes of practice and regulations manufacturers’ specifications and manuals permit to work system steam turbine plant and equipment, its location and operating parameters steam turbine system components and their interaction with other power generation plant and equipment turbine operations typical arrangements of power production plant Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) legislation including: emergency procedures risk control measures safe working procedures workplace documentation workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8