# Assessment Requirements for UEPOPS424 Coordinate local H.V. networks

Release: 1

Assessment Requirements for UEPOPS424 Coordinate local H.V. networks

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

analysing and responding to H.V. substation and/or local network faults or incidents applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) requirements including: emergency procedures risk control measures safe working practices communicating with key stakeholders communicating with personnel and external agencies completing documentation using recording procedures identifying power generation plant status implementing legislation, industry standards, codes of practice and regulations interpreting manufacturers’ specifications and manuals operating, monitoring and controlling local High Voltage (H.V.) substation and/or local network preparing for H.V. network system operations recognising and responding to abnormal H.V. substations and local network operating conditions using data analysis techniques and tools reviewing incident response and preventative procedures using contingency plans

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

abnormal operating conditions in H.V substations and local networks contingency plans coordination of H.V substations and local networks H.V substations and local network types and characteristics legislation, industry standards, codes of practice and regulations manufacturers’ specifications and manuals power generating plant and equipment, its location and operating parameters power generating plant status typical arrangements of power production plant WHS/OHS legislated requirements including: emergency procedures risk control measures safe working practices workplace documentation workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8