# Assessment Requirements for UEPOPS432 Start up a heat recovery steam generator unit

Release: 1

Assessment Requirements for UEPOPS432 Start up a heat recovery steam generator unit

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) legislated requirements including: emergency procedures risk control measures safe working practices communicating with personnel identifying HRSG plant status monitoring and operating HRSG plant and equipment organise resources planning and preparing HRSG plant and equipment for start and run up operations recognising and responding to abnormal HRSG plant operating conditions starting, running up and operating HRSG and associated plant and equipment testing HRSG plant operation using diagnostic and data analysis techniques and tools to determine faults using recording procedures to complete documentation utilising temperature and pressure raising techniques working with permit to work system

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

control of heat transfer and rate of temperature rise during HRSG start up HRSG plant and equipment, its location and operating parameters manufacturers specifications and manuals operational testing of HRSG plant permit to work system techniques HRSG plant and equipment operation temperature and pressure raising requirements typical arrangements of power production plant WHS/OHS legislation requirements including: emergency procedures risk control measures safe working practices and principles workplace policies and procedures workplace documentation

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8