# Assessment Requirements for UEPOPS434 Shut down a heat recovery steam generator unit

Release: 1

Assessment Requirements for UEPOPS434 Shut down a heat recovery steam generator unit

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) legislation including: emergency procedures risk control measures safe working practices communicating with personnel completing documentation using recording procedures identifying HRSG plant status organising resources planning for HRSG plant shut down preparing and operating Heat Recovery Steam Generator (HRSG) plant and equipment responding to abnormal HRSG plant operating conditions shutting down HRSG plant operations testing HRSG plant operation using diagnostic and data analysis techniques and tools to determine faults using temperature and pressure reducing techniques and principles working with permit to work system

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

control of steam temperature and pressure throughout full range of heat recovery steam generation operation up to and including maximum continuous rating depressurisation and cooling heat recovery steam generator gas path and water and steam circuits HRSG system components and the interaction of these components with other power generation plant and equipment legislation, industry standards, codes of practice and regulations manufacturers’ specifications and manuals operation techniques for HRSG plant and equipment permit to work system typical arrangements of power production plant Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) including: emergency procedures risk control measures safe working practices workplace documentation workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8