# Assessment Requirements for UEPOPS443 Coordinate wind farm operations

Release: 1

Assessment Requirements for UEPOPS443 Coordinate wind farm operations

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

analysing wind farm system and plant faults using data analysis techniques and tools applying Work, Health and Safety (WHS)/Occupational Health and Safety (WHS) requirements including: emergency procedures risk control measures safe working practices communicating with personnel completing documentation using recording procedures controlling wind farm electrical energy production coordinating wind farm electrical energy generation including: identifying wind farm plant status operating interacting systems running wind farm plant and equipment implementing legislation, industry standards, codes of practice and regulations interpreting manufacturers’ specifications and manuals monitoring wind farm operations planning for wind farm plant operation preparing wind farm plant and equipment for operation recognising and responding to abnormal wind farm plant operating conditions testing wind farm operation using diagnostic and testing techniques

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

legislation, industry standards, codes of practice and regulations manufacturers’ specifications and manuals typical arrangements of power production plant WHS/OHS legislated requirements including: emergency procedures risk control measures safe working practices wind farm generator and system stability principles wind farm plant and equipment, its location and operating parameters including: wind farm control system types wind farm system components and interactions wind turbine and generator types and characteristics wind turbine support systems workplace documentation workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8