# Assessment Requirements for UEPOPS444 Start and run-up a hydro turbine

Release: 1

Assessment Requirements for UEPOPS444 Start and run-up a hydro turbine

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) legislated requirements including: emergency procedures risk control measures safe working practices communicating with personnel identifying hydro turbine plant status implementing legislation, industry standards, codes of practices and regulations organising resources planning and preparing hydro turbine plant and equipment start and run up operations recognising and responding to abnormal plant operating conditions testing hydro turbine plant operation using diagnostic and data analysis techniques and tools to determine faults using recording procedures to complete documentation monitoring and operating hydro turbine plant and equipment working with permit to work system

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

hydro turbine system components and their interaction legislation, industry standards, codes of practices and regulations manufacturers’ specifications and manuals operational processes of hydro turbine permit to work system supervision and control system processes of hydro turbine typical arrangements for power generation plant WHS/OHS legislation requirements including: emergency procedures risk control measures safe working practices workplace documentation workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8