# Assessment Requirements for UEPOPS445 Shut down a hydro turbine

Release: 1

Assessment Requirements for UEPOPS445 Shut down a hydro turbine

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) including: emergency procedures risk control measures safe working practices communicating with personnel conducting safe and controlled shut down of hydro turbine plant and equipment identifying hydro turbine plant status implementing legislation, industry standards, codes of practice and regulations preparing hydro turbine plant and equipment for operation recognising and responding to abnormal plant operating conditions testing hydro turbine plant operationally using diagnostic and analysis techniques and to determine faults using recording procedures to complete documentation working with the permit to work system

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

hydro turbine operational processes hydro turbine plant and equipment, its location and operating parameters hydro turbine plant system components and their interaction hydro turbine supervision and control systems legislation, industry standards, codes of practice and regulations manufacturers’ specifications and manuals on-line condition monitoring equipment and trends permit to work system power generation plant status typical arrangements of hydro power production plant Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) legislation including: emergency procedures risk mitigation control measures safe working practices workplace documentation workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8