# Assessment Requirements for UEPOPS452 Conduct operational checks and carry out corrective action on in-service electrical plant

Release: 1

Assessment Requirements for UEPOPS452 Conduct operational checks and carry out corrective action on in-service electrical plant

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

applying Work, Health and Safety(WHS)/Occupational Health and Safety (OHS) requirements including: emergency procedures risk control measures safe working practices carrying out in-service electrical checks communicating with personnel completing work determining and completing corrective actions using data analysis techniques and tools finalising documentation using recording procedures identifying electrical in-service plant status implementing legislation, industry standards, codes of practice and regulations interpreting power generation plant drawings, manufacturers’ specifications and manuals maintaining electrical in-service plant integrity performing isolations planning for electrical in-service plant checks preparing electrical in-service plant or equipment for operational check recognising abnormal electrical in-service plant operating conditions recognising remote indication of plant status and conditions working with permit to work system

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

electrical in-service plant and equipment, its location and operating parameters electrical in-service plant drawings electrical in-service plant status isolations legislation, industry standards, codes of practice and regulations manufacturers’ specifications and manuals modification techniques permit to work system typical arrangements of power production plant WHS/OHS legislated requirements including: emergency procedures risk control measures safe working practices workplace documentation workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8