# Assessment Requirements for UEPOPS501 Manage Work, Health and Safety policy and procedures

Release: 1

Assessment Requirements for UEPOPS501 Manage Work, Health and Safety policy and procedures

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

analysing WHS/OHS risks associated with generating plant applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) requirements including: emergency procedures risk control measures safe working practices communicating with key stakeholders identifying hazards implementing hierarchy of control implementing legislation, industry standards, codes of practice and regulations locating and identifying generating plant and equipment managing and supervising staff managing controls for hazards associated with maintenance activities managing procedures for identifying hazards including recognising generating plant status recording procedures reviewing and implementing WHS/OHS procedures using hazard identification and risk control techniques

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

generating plant status hazard identification and risk control techniques hierarchy of control legislation, industry standards, codes of practice and regulations licensing and certification requirements including isolations, access and permits management of WHS/OHS records manufacturers’ specifications and manuals provision of WHS/OHS training including competency identification stakeholder management techniques typical arrangements of power production plant WHS/OHS legislated requirements including: emergency procedures risk control measures safe working practices workplace documentation workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8