# Assessment Requirements for UEPOPS508 Manage commissioning and decommissioning

Release: 1

Assessment Requirements for UEPOPS508 Manage commissioning and decommissioning

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

analysing data applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) requirements including: emergency procedures hazard identification risk control measures communicating with personnel completing work including reports identifying generation plant or equipment implementing legislation, industry standards, codes of practice and regulations interpreting manufacturers’ specifications and manuals managing commissioning and decommissioning of generation plant or equipment performing decommissions, recommissions and isolations planning and preparing for work related to the management of commissioning and decommissioning tasks recommissioning generation plant or equipment removal and disassembly of generation plant or equipment safe working practices using testing and measuring equipment working with permit to work system

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

commission, decommission and recommission management plans including resourcing and implementation procedures generation plant and equipment, its location and operating parameters including performance limits generation plant or equipment commissioning and decommissioning isolations legislation, industry standards, codes of practice and regulations manufacturers’ specifications and manuals permit to work system report processes test and measurement equipment for analysis of data typical arrangements of power production plant WHS/OHS legislated requirements including: emergency procedures hazard identification risk control measures safe working practices workplace documentation workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8