# Assessment Requirements for UEPOPS511 Tune process plant and equipment

Release: 1

Assessment Requirements for UEPOPS511 Tune process plant and equipment

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

analysing test results applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) legislated requirements including: emergency procedures risk control measures safety procedures communicating with personnel completing documentation using recording procedures coordinating testing operations using monitoring procedures implementing legislation, industry standards, codes of practice and regulations interpreting manufacturers specifications and manuals locating process plant and equipment planning and preparing for tuning setting up and using testing or tuning equipment translating and using tuning parameters and settings using data analysis techniques and tools utilising testing and tuning techniques for process plant and equipment

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

analysis methods and tools legislation, industry standards, codes of practice and regulations manufacturers’ specifications and manuals power generation process plant and equipment, its location and operating parameters tuning and testing techniques and processes tuning parameters and settings typical arrangements of power production plant WHS/OHS legislation including: safety procedures emergency procedures risk control measures workplace documentation workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8