# Assessment Requirements for UEPOPS512 Manage high voltage network system

Release: 1

Assessment Requirements for UEPOPS512 Manage high voltage network system

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

analysing and responding to faults and abnormal H.V. network system operating conditions using diagnostic techniques analysing and responding to H.V. network system faults or incidents using data analysis techniques and tools ascertaining type of H.V. network system applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) requirements including: emergency procedures and techniques risk control measures safe working practices and procedures communicating with key stakeholders completing documentation using recording procedures directing and coordinating personnel and stakeholders identifying power generating facility’s plant status implementing legislation, industry standards, codes of practice and regulations managing and controlling H.V. network system operations planning High Voltage (H.V.) network system operations preparing for H.V. network system operations reviewing incident response and preventative procedures selecting appropriate load shedding using permit to work system working with contingency plans

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

contingency plans H.V. load shedding principles H.V. network system types and characteristics legislation, industry standards, codes of practice and regulations permit to work system power generation plant and equipment, its location and operating parameters power generation plant status typical arrangements of power production plant WHS/OHS legislated requirements including: emergency procedures and techniques risk control measures safe working practices and procedures workplace documentation workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8