# Assessment Requirements for UEPOPS514 Control hydro generation pumping

Release: 1

Assessment Requirements for UEPOPS514 Control hydro generation pumping

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) requirements including: emergency procedures risk control measures safe working practices communicating dam and river levels to public completing documentation using recording procedures determining remote indication of hydro plant status and condition identifying hydro power generating plant status implementing legislation, industry standards, codes of practice and regulations interpreting manufacturers’ specifications and manuals maintaining policies and procedures operating remote hydro plant within design parameters preserving hydro generation pumping key indicator limits recognising abnormal hydro plant operating conditions and determining corrective actions

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

communication required by public and stakeholders about dam or river levels hydro power generating plant and equipment, its location and operating parameters legislation, industry standards, codes of practice and regulations manufacturers’ specifications and manuals typical arrangements of hydro power production plant including: dam types and characteristics hydro generator types and characteristics hydro power generating equipment status hydro turbine types and characteristics including hydro turbine governors WHS/OHS legislated requirements including: emergency procedures risk control measures safe working practices workplace documentation workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8