# Assessment Requirements for UEPOPS515 Coordinate power generation

Release: 1

Assessment Requirements for UEPOPS515 Coordinate power generation

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

analysing generator and excitation system and power generation plant faults using data analysis techniques and tools applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) requirements including: emergency procedures risk control measures safe working practices communicating with personnel completing documentation using recording procedures controlling and coordinating power generation of electrical energy coordinating power generation control coordinating operation of equipment to maintain power generation plant integrity and continuity of supply including: clarifying power generation plant status determining appropriate corrective actions maintaining power generator unit integrity recognising abnormal plant operating conditions interpreting manufacturers’ specifications and manuals interpreting remote indication of power generation plant status and condition monitoring generator and excitation system and power generation plant operating generator and excitation system planning for one operator isolated power generation plant operations

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

analysis of system faults typical arrangements of power production plant coordination of power generation including one operator isolated power generation plant operations generator excitation and cooling systems, types and characteristics types identification of power generation plant status legislation, industry standards, codes of practice and regulations manufacturers’ specifications and manuals operation of generator and excitation system power generation plant and equipment, its location and operating parameters power generation plant process control systems, system components and interactions WHS/OHS legislated requirements including: emergency procedures risk control measures safe working practices workplace documentation workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8