# Assessment Requirements for UEPOPS523 Manage critical incidents

Release: 1

Assessment Requirements for UEPOPS523 Manage critical incidents

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) requirements including: emergency procedures risk control measures safe working practices communicating and liaising with key stakeholders coordinating operation of system network determining contingency and critical incident plans documenting and reviewing critical incident and response identifying critical incident and potential consequences implementing contingency and critical incident plans implementing legislation, industry standards, codes of practice and regulations instigating communications including recording procedures managing critical incident recognising plant status including abnormal system operating conditions using data analysis techniques and tools supervising emergency situations including directing and managing personnel undertaking critical incident planning using diagnostic techniques using critical incident policies and procedures utilising Risk Management System working with restoration strategies

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

contingency and critical incident plans critical incident planning and management external critical incident authorities plant status including system network characteristics restoration strategies Risk Management Systems risk mitigation processes typical arrangements of power production plant including plant and equipment, its location and operating parameters WHS/OHS legislated requirements including: emergency procedures risk control measures safe working practices workplace documentation workplace policies and procedures legislation, industry standards, codes of practice and regulations

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8