# UET30819 Certificate III in ESI - Power Systems - Distribution Cable Jointing

Release 1

UET30819 Certificate III in ESI - Power Systems - Distribution Cable Jointing

# Modification History

Release 1. This is the first release of this qualification in the UET Transmission, Distribution and Rail Sector Training Package

# Qualification Description

This qualification provides the skill and knowledge to work in the electricity supply industry (ESI) as a Cable Jointer. This qualification covers the laying, installation and maintenance of de-energised low voltage (LV) and high voltage (HV) underground polymeric cables and installation and maintenance of electrical equipment and jointing and maintaining energised LV underground paper insulated and polymeric cables. There are options for skills to be obtained for energised cables and/or LV and HV paper insulated cables. The skills and knowledge described within the units in this qualification may require a licence or permit to practice in the workplace. Additional and/or other conditions may also apply under state and territory legislative and regulatory licensing requirements which must be confirmed prior to commencing the qualification.

# Entry Requirements

There are no entry requirements for this qualification

# Packaging Rules

| A total of 1060 weighting points comprising: 800 core weighting points listed below; plus 260 general elective weighting points from the general elective units listed below. Choose a total of 260 weighting points elective units from the list below, of which between 0 and 70 weighting points can be taken from Group A; and between 190 and 260 weighting points from Group B. You may select all your elective from this group. Up to 70 weighting points of the general elective units Group A may be selected, with appropriate contextualisation, from any relevant nationally endorsed Training Package or accredited course, provided selected units contribute to the vocational outcome of the qualification. Previously assigned weighting points are listed in UET Companion Volume Implementation Guide, if not listed weighting points will be 10 points. Where imported units are selected, care must be taken to ensure that all prerequisite units specified are complied with. |  |  |
| --- | --- | --- |
| Core units |  | Weighting Points |
| CPCCLDG3001A | Licence to perform dogging | 20 |
| TLILIC0005 | Licence to operate a boom-type elevating work platform (boom length 11 metres or more) | 40 |
| UEENEEE101A | Apply Occupational Health and Safety regulations, codes and practices in the workplace | 20 |
| UEENEEE102A | Fabricate, assemble and dismantle utilities industry components ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace | 40 |
| UEENEEE104A | Solve problems in d.c. circuits ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace | 80 |
| UEENEEE105A | Fix and secure electrotechnology equipment ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace | 20 |
| UEENEEE107A | Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace | 40 |
| UEENEEG101A | Solve problems in electromagnetic devices and related circuits ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE104A Solve problems in d.c. circuits | 60 |
| UEENEEG102A | Solve problems in low voltage a.c. circuits ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits | 80 |
| UETTDRCJ21 | Lay ESI electrical cables Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL16 Working safely near live electrical apparatus | 20 |
| UETTDRCJ26 | Install and maintain de-energised low voltage underground polymeric cables Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UETTDRCJ21 Lay ESI electrical cables ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL16 Working safely near live electrical apparatus | 50 |
| UETTDRCJ27 | Install and maintain de-energised high voltage underground polymeric cables Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UETTDRCJ21 Lay ESI electrical cables ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL16 Working safely near live electrical apparatus | 50 |
| UETTDRCJ99 | Test and verify distribution cable jointing installations Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UETTDRCJ21 Lay ESI electrical cables ∟UETTDRCJ26 Install and maintain de-energised low voltage underground polymeric cables ∟UETTDRCJ27 Install and maintain de-energised high voltage underground polymeric cables ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDREL16 Working safely near live electrical apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS55 Install and maintain low voltage underground services | 40 |
| UETTDREL11 | Apply sustainable energy and environmental procedures | 20 |
| UETTDREL12 | Operate plant and equipment near live electrical conductors and apparatus Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UETTDREL16 Working safely near live electrical apparatus | 40 |
| UETTDREL16 | Working safely near live electrical apparatus | 20 |
| UETTDRIS41 | Install network infrastructure electrical equipment Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDREL16 Working safely near live electrical apparatus Transmission Overhead Pathway Group ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRTP26 Install transmission structures and associated hardware ∟UETTDRTP27 Maintain transmission structures and associated hardware ∟UETTDRTP29 Install and maintain transmission overhead conductors and cables Distribution Overhead Pathway Group ∟UETTDRDP12 Maintain overhead energised low voltage conductors and cables ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRIS56 Install and maintain low voltage overhead services Rail Traction Pathway Group ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRRT21 Install traction overhead wiring systems ∟UETTDRRT22 Maintain traction overhead wiring systems ∟UETTDRRT23 Install rail traction bonds ∟UETTDRRT27 Install overhead traction components and equipment ∟UETTDRRT28 Maintain overhead traction components and equipment Distribution Cable Jointing Pathway Group ∟UETTDRCJ21 Lay ESI electrical cables ∟UETTDRCJ26 Install and maintain de-energised low voltage underground polymeric cables ∟UETTDRCJ27 Install and maintain de-energised high voltage underground polymeric cables ∟UETTDRIS55 Install and maintain low voltage underground services | 60 |
| UETTDRIS42 | Maintain network infrastructure electrical equipment Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDREL16 Working safely near live electrical apparatus Transmission Overhead Pathway Group ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRTP26 Install transmission structures and associated hardware ∟UETTDRTP27 Maintain transmission structures and associated hardware ∟UETTDRTP29 Install and maintain transmission overhead conductors and cables Distribution Overhead Pathway Group ∟UETTDRDP12 Maintain overhead energised low voltage conductors and cables ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRIS56 Install and maintain low voltage overhead services Rail Traction Pathway Group ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRRT21 Install traction overhead wiring systems ∟UETTDRRT22 Maintain traction overhead wiring systems ∟UETTDRRT23 Install rail traction bonds ∟UETTDRRT27 Install overhead traction components and equipment ∟UETTDRRT28 Maintain overhead traction components and equipment Distribution Cable Jointing Pathway Group ∟UETTDRCJ21 Lay ESI electrical cables ∟UETTDRCJ26 Install and maintain de-energised low voltage underground polymeric cables ∟UETTDRCJ27 Install and maintain de-energised high voltage underground polymeric cables ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS55 Install and maintain low voltage underground services | 60 |
| UETTDRIS55 | Install and maintain low voltage underground services Electrotechnology Electrician Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UETTDREL16 Working safely near live electrical apparatus Transmission Overhead Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRTP26 Install transmission structures and associated hardware ∟UETTDRTP27 Maintain transmission structures and associated hardware ∟UETTDRTP29 Install and maintain transmission overhead conductors and cables Distribution Overhead Pathway Group ∟UETTDRDP12 Maintain overhead energised low voltage conductors and cables ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRIS56 Install and maintain low voltage overhead services Rail Traction Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRRT21 Install traction overhead wiring systems ∟UETTDRRT22 Maintain traction overhead wiring systems ∟UETTDRRT23 Install rail traction bonds ∟UETTDRRT27 Install overhead traction components and equipment ∟UETTDRRT28 Maintain overhead traction components and equipment Distribution Cable Jointing Pathway Group ∟UETTDRCJ21 Lay ESI electrical cables ∟UETTDRCJ26 Install and maintain de-energised low voltage underground polymeric cables ∟UETTDRCJ27 Install and maintain de-energised high voltage underground polymeric cables ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus Electrotechnology Electrician Pathway Group ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector ∟UETTDRIS67 Solve problems in energy supply network equipment | 40 |
| Group A: Imported and common elective units |  | Weighting Points |
| AHCMOM213 | Operate and maintain chainsaws | 20 |
| CPCCLHS3001A | Licence to operate a personnel and materials hoist | 10 |
| CPCCLHS3002A | Licence to operate a materials hoist | 10 |
| CPCCLRG3001A | Licence to perform rigging basic level ∟CPCCLDG3001A Licence to perform dogging | 40 |
| CPCCLRG3002A | Licence to perform rigging intermediate level ∟CPCCLRG3001A Licence to perform rigging basic level | 60 |
| CPCCLSF2001A | Licence to erect, alter and dismantle scaffolding basic level | 20 |
| CPCCLSF3001A | Licence to erect, alter and dismantle scaffolding intermediate level ∟CPCCLSF2001A Licence to erect, alter and dismantle scaffolding basic level | 20 |
| TLILIC0002 | Licence to operate a vehicle loading crane (capacity 10 metre tonnes and above) | 40 |
| TLILIC0003 | Licence to operate a forklift truck | 40 |
| TLILIC2015 | Licence to drive a medium rigid vehicle | 20 |
| TLILIC2016 | Licence to drive a heavy rigid vehicle | 20 |
| TLILIC0006 | Licence to operate a bridge and gantry crane | 70 |
| TLILIC0010 | Licence to operate a slewing mobile crane (up to 20 tonnes) | 70 |
| TLILIC0013 | Licence to operate a slewing mobile crane (up to 60 tonnes) | 70 |
| TLILIC0015 | Licence to operate a slewing mobile crane (over 100 Tonnes) | 70 |
| UEENEEG106A | Terminate cables, cords and accessories for low voltage circuits ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications | 40 |
| Group B: General elective units |  | Weighting Points |
| UETTDRCJ22 | Install and maintain de-energised low voltage underground paper insulated cables Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UETTDRCJ21 Lay ESI electrical cables ∟UETTDRCJ26 Install and maintain de-energised low voltage underground polymeric cables ∟UETTDRCJ27 Install and maintain de-energised high voltage underground polymeric cables ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDREL16 Working safely near live electrical apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS55 Install and maintain low voltage underground services | 40 |
| UETTDRCJ23 | Install and maintain de-energised high voltage underground paper insulated cables Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UETTDRCJ21 Lay ESI electrical cables ∟UETTDRCJ26 Install and maintain de-energised low voltage underground polymeric cables ∟UETTDRCJ27 Install and maintain de-energised high voltage underground polymeric cables ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDREL16 Working safely near live electrical apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS55 Install and maintain low voltage underground services | 60 |
| UETTDRCJ24 | Joint and maintain energised low voltage underground paper insulated cables Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UETTDRCJ21 Lay ESI electrical cables ∟UETTDRCJ26 Install and maintain de-energised low voltage underground polymeric cables ∟UETTDRCJ27 Install and maintain de-energised high voltage underground polymeric cables ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDREL16 Working safely near live electrical apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS55 Install and maintain low voltage underground services | 60 |
| UETTDRCJ25 | Perform straight through high voltage paper insulated to polymeric transition joint Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UETTDRCJ21 Lay ESI electrical cables ∟UETTDRCJ26 Install and maintain de-energised low voltage underground polymeric cables ∟UETTDRCJ27 Install and maintain de-energised high voltage underground polymeric cables ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDREL16 Working safely near live electrical apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS55 Install and maintain low voltage underground services | 50 |
| UETTDRCJ28 | Joint and maintain energised low voltage underground polymeric cables Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UETTDRCJ21 Lay ESI electrical cables ∟UETTDRCJ26 Install and maintain de-energised low voltage underground polymeric cables ∟UETTDRCJ27 Install and maintain de-energised high voltage underground polymeric cables ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDREL16 Working safely near live electrical apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS55 Install and maintain low voltage underground services | 50 |
| UETTDRDP11 | Inspect overhead poles-structures and electrical apparatus Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL16 Working safely near live electrical apparatus | 50 |
| UETTDRIS43 | Perform low voltage field switching operation to a given schedule Electrical Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UETTDREL16 Working safely near live electrical apparatus Transmission Overhead Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRTP26 Install transmission structures and associated hardware ∟UETTDRTP27 Maintain transmission structures and associated hardware ∟UETTDRTP29 Install and maintain transmission overhead conductors and cables Distribution Overhead Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDRDP12 Maintain overhead energised low voltage conductors and cables ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRIS56 Install and maintain low voltage overhead services Rail Traction Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRRT21 Install traction overhead wiring systems ∟UETTDRRT22 Maintain traction overhead wiring systems ∟UETTDRRT23 Install rail traction bonds ∟UETTDRRT27 Install overhead traction components and equipment ∟UETTDRRT28 Maintain overhead traction components and equipment Distribution Cable Jointing Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDRCJ21 Lay ESI electrical cables ∟UETTDRCJ26 Install and maintain de-energised low voltage underground polymeric cables ∟UETTDRCJ27 Install and maintain de-energised high voltage underground polymeric cables ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS55 Install and maintain low voltage underground services Electrical Pathway Group ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector ∟UETTDRIS67 Solve problems in energy supply network equipment | 50 |
| UETTDRIS44 | Perform HV field switching operation to a given schedule Electrical Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UETTDREL16 Working safely near live electrical apparatus Transmission Overhead Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRTP26 Install transmission structures and associated hardware ∟UETTDRTP27 Maintain transmission structures and associated hardware ∟UETTDRTP29 Install and maintain transmission overhead conductors and cables Distribution Overhead Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDRDP12 Maintain overhead energised low voltage conductors and cables ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRIS56 Install and maintain low voltage overhead services Rail Traction Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRRT21 Install traction overhead wiring systems ∟UETTDRRT22 Maintain traction overhead wiring systems ∟UETTDRRT23 Install rail traction bonds ∟UETTDRRT27 Install overhead traction components and equipment ∟UETTDRRT28 Maintain overhead traction components and equipment Distribution Cable Jointing Pathway Group ∟UETTDRCJ21 Lay ESI electrical cables ∟UETTDRCJ26 Install and maintain de-energised low voltage underground polymeric cables ∟UETTDRCJ27 Install and maintain de-energised high voltage underground polymeric cables ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS55 Install and maintain low voltage underground services Electrical Pathway Group ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector ∟UETTDRIS67 Solve problems in energy supply network equipment | 50 |
| UETTDRIS53 | Install and maintain power system public lighting Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDREL16 Working safely near live electrical apparatus Transmission Overhead Pathway Group ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRTP26 Install transmission structures and associated hardware ∟UETTDRTP27 Maintain transmission structures and associated hardware ∟UETTDRTP29 Install and maintain transmission overhead conductors and cables Distribution Overhead Pathway Group ∟UETTDRDP12 Maintain overhead energised low voltage conductors and cables ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRIS56 Install and maintain low voltage overhead services Rail Traction Pathway Group ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRRT21 Install traction overhead wiring systems ∟UETTDRRT22 Maintain traction overhead wiring systems ∟UETTDRRT23 Install rail traction bonds ∟UETTDRRT27 Install overhead traction components and equipment ∟UETTDRRT28 Maintain overhead traction components and equipment Distribution Cable Jointing Pathway Group ∟UETTDRCJ21 Lay ESI electrical cables ∟UETTDRCJ26 Install and maintain de-energised low voltage underground polymeric cables ∟UETTDRCJ27 Install and maintain de-energised high voltage underground polymeric cables ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS55 Install and maintain low voltage underground services | 40 |
| UETTDRIS56 | Install and maintain low voltage overhead services Electrotechnology Electrician Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UETTDREL16 Working safely near live electrical apparatus Transmission Overhead Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRTP26 Install transmission structures and associated hardware ∟UETTDRTP27 Maintain transmission structures and associated hardware ∟UETTDRTP29 Install and maintain transmission overhead conductors and cables Distribution Overhead Pathway Group ∟UETTDRDP12 Maintain overhead energised low voltage conductors and cables ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables Rail Traction Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRRT21 Install traction overhead wiring systems ∟UETTDRRT22 Maintain traction overhead wiring systems ∟UETTDRRT23 Install rail traction bonds ∟UETTDRRT27 Install overhead traction components and equipment ∟UETTDRRT28 Maintain overhead traction components and equipment Distribution Cable Jointing Pathway Group ∟UETTDRCJ21 Lay ESI electrical cables ∟UETTDRCJ26 Install and maintain de-energised low voltage underground polymeric cables ∟UETTDRCJ27 Install and maintain de-energised high voltage underground polymeric cables ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS55 Install and maintain low voltage underground services Electrotechnology Electrician Pathway Group ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector ∟UETTDRIS67 Solve problems in energy supply network equipment | 40 |
| UETTDRIS57 | Conduct visual checking and treatment of power system poles and structures Electrotechnology Systems Electrician Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDREL16 Working safely near live electrical apparatus Transmission Overhead Pathway Group ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRTP26 Install transmission structures and associated hardware ∟UETTDRTP27 Maintain transmission structures and associated hardware ∟UETTDRTP29 Install and maintain transmission overhead conductors and cables ∟UETTDRTP30 Inspect transmission overhead structures and electrical apparatus Distribution Overhead Pathway Group ∟UETTDRDP11 Inspect overhead poles-structures and electrical apparatus ∟UETTDRDP12 Maintain overhead energised low voltage conductors and cables ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRIS56 Install and maintain low voltage overhead services Rail Traction Pathway Group ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRRT21 Install traction overhead wiring systems ∟UETTDRRT22 Maintain traction overhead wiring systems ∟UETTDRRT23 Install rail traction bonds ∟UETTDRRT27 Install overhead traction components and equipment ∟UETTDRRT28 Maintain overhead traction components and equipment Distribution Cable Jointing Pathway Group ∟UETTDRCJ21 Lay ESI electrical cables ∟UETTDRCJ26 Install and maintain de-energised low voltage underground polymeric cables ∟UETTDRCJ27 Install and maintain de-energised high voltage underground polymeric cables ∟UETTDRDP11 Inspect overhead poles-structures and electrical apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS55 Install and maintain low voltage underground services | 30 |
| UETTDRIS58 | Locate faults in power system underground power cables Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UETTDRCJ21 Lay ESI electrical cables ∟UETTDRCJ26 Install and maintain de-energised low voltage underground polymeric cables ∟UETTDRCJ27 Install and maintain de-energised high voltage underground polymeric cables ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDREL16 Working safely near live electrical apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS55 Install and maintain low voltage underground services | 60 |
| UETTDRIS59 | Conduct high potential testing of power system underground power cables Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UETTDRCJ21 Lay ESI electrical cables ∟UETTDRCJ26 Install and maintain de-energised low voltage underground polymeric cables ∟UETTDRCJ27 Install and maintain de-energised high voltage underground polymeric cables ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDREL16 Working safely near live electrical apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS55 Install and maintain low voltage underground services | 50 |
| UETTDRIS60 | Install and replace power system energy meters and associated equipment Electrotechnology Electrician Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UETTDREL16 Working safely near live electrical apparatus Distribution Overhead Pathway Group ∟UETTDRDP12 Maintain overhead energised low voltage conductors and cables ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRIS56 Install and maintain low voltage overhead services Distribution Cable Jointing Pathway Group ∟UETTDRCJ21 Lay ESI electrical cables ∟UETTDRCJ26 Install and maintain de-energised low voltage underground polymeric cables ∟UETTDRCJ27 Install and maintain de-energised high voltage underground polymeric cables ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS55 Install and maintain low voltage underground services Electrotechnology Electrician Pathway Group ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG103A Install low voltage wiring and accessories ∟UEENEEG104A Install appliances, switchgear and associated accessories for low voltage electrical installations ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG107A Select wiring systems and cables for low voltage general electrical installations ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector | 50 |
| UETTDRIS61 | Install mobile generation set for synchronised LV Genset Electrotechnology Electrician Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UETTDREL16 Working safely near live electrical apparatus Transmission Overhead Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRTP26 Install transmission structures and associated hardware ∟UETTDRTP27 Maintain transmission structures and associated hardware ∟UETTDRTP29 Install and maintain transmission overhead conductors and cables Distribution Overhead Pathway Group ∟UETTDRDP12 Maintain overhead energised low voltage conductors and cables ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRIS56 Install and maintain low voltage overhead services Rail Traction Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRRT21 Install traction overhead wiring systems ∟UETTDRRT22 Maintain traction overhead wiring systems ∟UETTDRRT23 Install rail traction bonds ∟UETTDRRT27 Install overhead traction components and equipment ∟UETTDRRT28 Maintain overhead traction components and equipment Distribution Cable Jointing Pathway Group ∟UETTDRCJ21 Lay ESI electrical cables ∟UETTDRCJ26 Install and maintain de-energised low voltage underground polymeric cables ∟UETTDRCJ27 Install and maintain de-energised high voltage underground polymeric cables ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS55 Install and maintain low voltage underground services Electrotechnology Electrician Pathway Group ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG103A Install low voltage wiring and accessories ∟UEENEEG104A Install appliances, switchgear and associated accessories for low voltage electrical installations ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG107A Select wiring systems and cables for low voltage general electrical installations ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector | 50 |
| UETTDRSB39 | Perform power system substation switching operation to a given schedule Electrical Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UETTDREL16 Working safely near live electrical apparatus Transmission Overhead Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRTP26 Install transmission structures and associated hardware ∟UETTDRTP27 Maintain transmission structures and associated hardware ∟UETTDRTP29 Install and maintain transmission overhead conductors and cables Distribution Overhead Pathway Group ∟UETTDRDP12 Maintain overhead energised low voltage conductors and cables ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRIS56 Install and maintain low voltage overhead services Rail Traction Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRRT21 Install traction overhead wiring systems ∟UETTDRRT22 Maintain traction overhead wiring systems ∟UETTDRRT23 Install rail traction bonds ∟UETTDRRT27 Install overhead traction components and equipment ∟UETTDRRT28 Maintain overhead traction components and equipment Distribution Cable Jointing Pathway Group ∟UETTDRCJ21 Lay ESI electrical cables ∟UETTDRCJ26 Install and maintain de-energised low voltage underground polymeric cables ∟UETTDRCJ27 Install and maintain de-energised high voltage underground polymeric cables ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS55 Install and maintain low voltage underground services Electrical Pathway Group ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector ∟UETTDRIS67 Solve problems in energy supply network equipment | 50 |

# Qualification Mapping Information

This qualification replaces and is equivalent to UET30812 Certificate III in ESI - Power Systems - Distribution Cable Jointing

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7