# UET30919 Certificate III in ESI - Remote Community Utilities Worker

Release 1

UET30919 Certificate III in ESI - Remote Community Utilities Worker

# Modification History

Release 1. This is the first release of this qualification in the UEE Electrotechnology Training Package

# Qualification Description

This qualification provides the skill and knowledge to work in the electricity supply industry (ESI) as a Remote Community Utilities Worker. This qualification covers inspecting and maintaining essential public utilities (excluding mine sites) within very remote communities. All work on essential electrical utilities will be undertaken in non-energised (dead) environments other than for testing purposes. The use of support plant and equipment to perform these tasks and environmental requirements also play a part in this job function. Very Remote Communities: Means a community with restricted access and very little accessibility of goods, services and opportunities for social interaction. Supporting information on the classification of a very remote community can be defined using the latest version of Accessibility/Remoteness Index of Australia (ARIA). Non-energised (dead): Means prior to the commencement of work, all electrical apparatus is to be isolated. That is for high voltage (HV) (short-circuited and earthed) and for low voltage (LV) (short-circuited to the neutral). The skills and knowledge described within the units in this qualification may require a licence or permit to practice in the workplace. Additional and/or other conditions may also apply under state and territory legislative and regulatory licensing requirements which must be confirmed prior to commencing the qualification.

# Entry Requirements

There are no entry requirements for this qualification

# Packaging Rules

| A total of 1060 weighting points comprising: 700 core weighting points listed below; plus 360 general elective weighting points from the general elective units listed below. Choose a total of 360 weighting points elective units from the list below, of which between 0 and 180 weighting points can be taken from Group A; and between 180 and 360 weighting points from Group B. You may select all your elective from this group. Up to 180 weighting points of the general elective units Group A may be selected, with appropriate contextualisation, from any relevant nationally endorsed Training Package or accredited course, provided selected units contribute to the vocational outcome of the qualification. Previously assigned weighting points are listed in UET Transmission, Distribution and Rail Sector Training Package Companion Volume Implementation Guide, if not listed weighting points will be 10 points. Where imported units are selected, care must be taken to ensure that all prerequisite units specified are complied with. |  |  |
| --- | --- | --- |
| Core units |  | Weighting Points |
| UEENEEE101A | Apply Occupational Health and Safety regulations, codes and practices in the workplace | 20 |
| UEENEEE102A | Fabricate, assemble and dismantle utilities industry components ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace | 40 |
| UEENEEE103A | Solve problems in ELV single path circuits ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace | 40 |
| UEENEEE105A | Fix and secure electrotechnology equipment ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace | 20 |
| UEENEEE107A | Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace | 40 |
| UEENEEE137A | Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace | 20 |
| UEENEEK101A | Maintain safety and tidiness of remote area power supply systems ∟UEENEEE101A Apply Occupational Health Safety regulations, codes and practices in the workplace ∟UEENEEK102A Work safely with remote area power supply systems | 20 |
| UEENEEK102A | Work safely with remote area power supply systems ∟UEENEEE101A Apply Occupational Health Safety regulations, codes and practices in the workplace | 20 |
| UEENEEK116A | Maintain and repair remote area power generation facilities Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEK101A Maintain safety and tidiness of remote area power supply systems ∟UEENEEK102A Work safely with remote area power supply systems ∟UEENEEK104A Conduct periodic maintenance of remote area power supply generator sets Electrotechnology Pathway Group ∟UEENEEE104A Solve problems in d.c. circuits Remote Area Pathway Group ∟UEENEEE131A Solve problems in ELV circuits for non electrical workers | 80 |
| UEENEEK120A | Maintain operation of remote area power generation plant ∟UEENEEK116A Maintain and repair remote area power generation facilities | 120 |
| UETTDREL11 | Apply sustainable energy and environmental procedures | 20 |
| UETTDREL12 | Operate plant and equipment near live electrical conductors and apparatus Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UETTDREL16 Working safely near live electrical apparatus | 40 |
| UETTDREL16 | Working safely near live electrical apparatus | 20 |
| UETTDRIS32 | Solve electrical problems in remote community network apparatus Common Unit Group ∟UEENEEE103A Solve problems in ELV single path circuits ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace | 80 |
| UETTDRIS33 | Solve electrical problems in remote community network systems Common Unit Group ∟UEENEEE103A Solve problems in ELV single path circuits ∟UETTDRIS32 Solve electrical problems in remote community network apparatus ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace | 80 |
| UETTDRIS99 | Test and verify distribution remote area installations Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE103A Solve problems in ELV single path circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEK101A Maintain safety and tidiness of remote area power supply systems ∟UEENEEK102A Work safely with remote area power supply systems ∟UEENEEK116A Maintain and repair remote area power generation facilities ∟UEENEEK120A Maintain operation of remote area power generation plant ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL16 Working safely near live electrical apparatus ∟UETTDRIS32 Solve electrical problems in remote community network apparatus ∟UETTDRIS33 Solve electrical problems in remote community network systems | 40 |
| Group A: Imported and common elective units |  | Weighting Points |
| AHCMOM213 | Operate and maintain chainsaws | 20 |
| CPCCLDG3001A | Licence to perform dogging | 20 |
| NWPGEN007 | Sample and test drinking water | 20 |
| NWPTRT001 | Operate and control water treatment processes | 30 |
| TLILIC0002 | Licence to operate a vehicle loading crane (capacity 10 metre tonnes and above) | 40 |
| TLILIC0005 | Licence to operate a boom-type elevating work platform (boom length 11 metres or more) | 40 |
| UEENEEE131A | Solve problems in ELV circuits for non electrical workers ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace | 40 |
| UEENEEK103A | Conduct periodic maintenance of remote area power supply battery banks ∟UEENEEE101A Apply Occupational Health Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, dismantle, assemble of utilities industry components ∟UEENEEK101A Maintain safety and tidiness of remote area power supply systems ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEK102A Work safely with remote area power supply systems ∟UEENEEE131A Solve problems in ELV circuits for non electrical workers OR ∟UEENEEE104A Solve problems in d.c. circuits | 40 |
| UEENEEK104A | Conduct periodic maintenance of remote area power supply generator sets ∟UEENEEE101A Apply Occupational Health Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, dismantle, assemble of utilities industry components ∟UEENEEK101A Maintain safety and tidiness of remote area power supply systems ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEK102A Work safely with remote area power supply systems ∟UEENEEE131A Solve problems in ELV circuits for non electrical workers OR ∟UEENEEE104A Solve problems in d.c. circuits | 40 |
| UEENEEK105A | Conduct periodic maintenance of remote area power supply photo voltaic arrays ∟UEENEEE101A Apply Occupational Health Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, dismantle, assemble of utilities industry components ∟UEENEEK101A Maintain safety and tidiness of remote area power supply systems ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEK102A Work safely with remote area power supply systems ∟UEENEEE131A Solve problems in ELV circuits for non electrical workers OR ∟UEENEEE104A Solve problems in d.c. circuits | 40 |
| UEENEEK106A | Conduct periodic maintenance of remote area power supply wind generators ∟UEENEEE101A Apply Occupational Health Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, dismantle, assemble of utilities industry components ∟UEENEEK101A Maintain safety and tidiness of remote area power supply systems ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEK102A Work safely with remote area power supply systems ∟UEENEEE131A Solve problems in ELV circuits for non electrical workers OR ∟UEENEEE104A Solve problems in d.c. circuits | 40 |
| UEENEEP024A | Attach cords and plugs to electrical equipment for connection to a single phase 230 Volt supply ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace | 20 |
| UEENEEP026A | Conduct in-service safety testing of electrical cord connected equipment and cord assemblies ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace | 20 |
| Group B: General elective units |  | Weighting Points |
| UETTDRCJ21 | Lay ESI electrical cables Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL16 Working safely near live electrical apparatus | 20 |
| UETTDRCJ26 | Install and maintain de-energised low voltage underground polymeric cables Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UETTDRCJ21 Lay ESI electrical cables ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL16 Working safely near live electrical apparatus | 50 |
| UETTDRCJ27 | Install and maintain de-energised high voltage underground polymeric cables Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UETTDRCJ21 Lay ESI electrical cables ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL16 Working safely near live electrical apparatus | 50 |
| UETTDRDP11 | Inspect overhead poles-structures and electrical apparatus Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL16 Working safely near live electrical apparatus | 50 |
| UETTDRIS34 | Install and replace energy meters and associated equipment in remote communities Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEK101A Maintain safety and tidiness of remote area power supply systems ∟UEENEEK102A Work safely with remote area power supply systems ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus | 50 |
| UETTDRIS35 | Perform remote community network field switching to a given schedule Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEK101A Maintain safety and tidiness of remote area power supply systems ∟UEENEEK102A Work safely with remote area power supply systems ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus | 40 |
| UETTDRIS36 | Install and maintain low voltage services in remote communities (overhead) Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE103A Solve problems in ELV single path circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEK101A Maintain safety and tidiness of remote area power supply systems ∟UEENEEK102A Work safely with remote area power supply systems ∟UEENEEK116A Maintain and repair remote area power generation facilities ∟UEENEEK120A Maintain operation of remote area power generation plant ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL16 Working safely near live electrical apparatus ∟UETTDRIS32 Solve electrical problems in remote community network apparatus ∟UETTDRIS33 Solve electrical problems in remote community network systems ∟UETTDRIS99 Test and verify distribution remote area installations | 40 |
| UETTDRIS37 | Install and maintain low voltage services in remote communities (underground) Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE103A Solve problems in ELV single path circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEK101A Maintain safety and tidiness of remote area power supply systems ∟UEENEEK102A Work safely with remote area power supply systems ∟UEENEEK116A Maintain and repair remote area power generation facilities ∟UEENEEK120A Maintain operation of remote area power generation plant ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL16 Working safely near live electrical apparatus ∟UETTDRIS32 Solve electrical problems in remote community network apparatus ∟UETTDRIS33 Solve electrical problems in remote community network systems ∟UETTDRIS99 Test and verify distribution remote area installations | 40 |
| UETTDRIS38 | Install and maintain public lighting systems in remote communities Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE103A Solve problems in ELV single path circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEK101A Maintain safety and tidiness of remote area power supply systems ∟UEENEEK102A Work safely with remote area power supply systems ∟UEENEEK116A Maintain and repair remote area power generation facilities ∟UEENEEK120A Maintain operation of remote area power generation plant ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL16 Working safely near live electrical apparatus ∟UETTDRIS32 Solve electrical problems in remote community network apparatus ∟UETTDRIS33 Solve electrical problems in remote community network systems ∟UETTDRIS99 Test and verify distribution remote area installations | 40 |
| UETTDRIS52 | Install and maintain poles, structures and associated hardware Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL16 Working safely near live electrical apparatus | 50 |
| UETTDRIS54 | Install and maintain poles, structures and overhead conductors and cables Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL16 Working safely near live electrical apparatus | 60 |
| UETTDRIS55 | Install and maintain low voltage underground services Electrotechnology Electrician Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UETTDREL16 Working safely near live electrical apparatus Transmission Overhead Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRTP26 Install transmission structures and associated hardware ∟UETTDRTP27 Maintain transmission structures and associated hardware ∟UETTDRTP29 Install and maintain transmission overhead conductors and cables Distribution Overhead Pathway Group ∟UETTDRDP12 Maintain overhead energised low voltage conductors and cables ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRIS56 Install and maintain low voltage overhead services Rail Traction Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRRT21 Install traction overhead wiring systems ∟UETTDRRT22 Maintain traction overhead wiring systems ∟UETTDRRT23 Install rail traction bonds ∟UETTDRRT27 Install overhead traction components and equipment ∟UETTDRRT28 Maintain overhead traction components and equipment Distribution Cable Jointing Pathway Group ∟UETTDRCJ21 Lay ESI electrical cables ∟UETTDRCJ26 Install and maintain de-energised low voltage underground polymeric cables ∟UETTDRCJ27 Install and maintain de-energised high voltage underground polymeric cables ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus Electrotechnology Electrician Pathway Group ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector ∟UETTDRIS67 Solve problems in energy supply network equipment | 40 |

# Qualification Mapping Information

This qualification replaces and is equivalent to UET30912 Certificate III in ESI - Remote Community Utilities Worker

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7