# UET40519 Certificate IV in ESI - Power Systems Substations

Release 1

UET40519 Certificate IV in ESI - Power Systems Substations

# Modification History

Release 1. This is the first release of this qualification in the UET Transmission, Distribution and Rail Sector Training Package

# Qualification Description

This qualification provides the skills and knowledge to work in power system substations in the electricity supply industry (ESI). This qualification covers selecting, installing, setting up, testing, fault finding, repairing and maintaining electrical systems and equipment in buildings and premises. It also provides a career in installation and maintenance of substations, such as the maintenance of high voltage (HV) power system, including circuit breakers and transformers. It includes substation switching, inspection and diagnosing and rectifying faults. Options are available for skills to be obtained in high current direct current (d.c.) switchgear and equipment, installation of HV plant and equipment and/or the maintenance and commissioning of discrete protection and control systems. It includes the Electrical Regulatory Authorities Council (ERAC) requirements for an ‘Electrician’s licence’. Competency development activities in this qualification are subject to regulations directly related to licencing. The skills and knowledge described within the units in this qualification may require a licence or permit to practice in the workplace. Additional and/or other conditions may also apply under state and territory legislative and regulatory licencing requirements which must be confirmed prior to commencing the qualification.

# Entry Requirements

There are no entry requirements for this qualification

# Packaging Rules

| A total of 1280 weighting points comprising: 1030 core weighting points listed below; plus 250 general elective weighting points from the general elective units listed below. Choose a total of 250 weighting points elective units from the list below, of which between 0 and 50 weighting points can be taken from Group A; between 0 and 120 weighting points can be taken from Group B; and between 130 and 250 weighting points taken from Group C. You may select all your electives from this group. Up to 50 weighting points of the general elective units Group A may be selected, with appropriate contextualisation, from any relevant nationally endorsed Training Package or accredited course, provided selected units contribute to the vocational outcome of the qualification. Previously assigned weighting points are listed in UET Transmission, Distribution and Rail Sector Training Package Companion Volume Implementation Guide, if not listed weighting points will be 10 points. Where imported units are selected, care must be taken to ensure all prerequisite units specified are complied with. |  |  |
| --- | --- | --- |
| Core units |  | Weighting Points |
| UEENEEE101A | Apply Occupational Health and Safety regulations, codes and practices in the workplace | 20 |
| UEENEEE102A | Fabricate, assemble and dismantle utilities industry components ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace | 40 |
| UEENEEE104A | Solve problems in d.c. circuits ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace | 80 |
| UEENEEE105A | Fix and secure electrotechnology equipment ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace | 20 |
| UEENEEE107A | Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace | 40 |
| UEENEEE137A | Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace | 20 |
| UEENEEG006A | Solve problems in single and three phase low voltage machines ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, dismantle, assemble of electrotechnology components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuit ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits | 80 |
| UEENEEG033A | Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, dismantle, assemble of electrotechnology components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuit ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits | 60 |
| UEENEEG063A | Arrange circuits, control and protection for general electrical installations ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, dismantle, assemble of electrotechnology components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnolgy equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuit ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits | 40 |
| UEENEEG101A | Solve problems in electromagnetic devices and related circuits ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE104A Solve problems in d.c. circuits | 60 |
| UEENEEG102A | Solve problems in low voltage a.c. circuits ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits | 80 |
| UEENEEG103A | Install low voltage wiring and accessories ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, dismantle, assemble of electrotechnology components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuit ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG107A Select wiring systems and cables for low voltage general electrical installations ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits | 20 |
| UEENEEG104A | Install appliances, switchgear and associated accessories for low voltage electrical installations ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, dismantle, assemble of electrotechnology components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuit ∟UEENEEG103A Install low voltage wiring and accessories ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG107A Select wiring systems and cables for low voltage general electrical installations ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits | 20 |
| UEENEEG105A | Verify compliance and functionality of low voltage general electrical installations ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, dismantle, assemble of electrotechnology components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuit ∟UEENEEG103A Install low voltage wiring and accessories ∟UEENEEG104A Install appliances, switchgear and associated accessories for low voltage electrical installations ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG107A Select wiring systems and cables for low voltage general electrical installations ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits Conditions: Those holding an ‘Unrestricted Electrician’s Licence’ or equivalent issued in an Australian State or Territory meet the requirements of this unit and its prerequisite requirements. A ‘licensed electrician’ applying for an ‘electrical contractors licence’ may be required to undertake this unit to demonstrate their currency with verification of compliance requirements. In this case they are deemed to have met the prerequisites for this unit provided that: they hold a current ‘electricians licence’ or its equivalent issued in an Australian State or Territory and have recently been in permanent employment as a licensed electrician sufficient to evidence current knowledge of applicable standards and regulations. | 40 |
| UEENEEG106A | Terminate cables, cords and accessories for low voltage circuits ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications | 40 |
| UEENEEG107A | Select wiring systems and cables for low voltage general electrical installations ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, dismantle, assemble of electrotechnology components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuit ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits | 60 |
| UEENEEG108A | Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, dismantle, assemble of utilities components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits | 40 |
| UEENEEG109A | Develop and connect electrical control circuits ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, dismantle, assemble of electrotechnology components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuit ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits | 80 |
| UEENEEK142A | Apply environmentally and sustainable procedures in the energy sector | 20 |
| UETTDREL16 | Working safely near live electrical apparatus | 20 |
| UETTDRIS62 | Implement and monitor the power system organisational WHS/OHS policies, procedures and programs Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UETTDREL16 Working safely near live electrical apparatus | 30 |
| UETTDRIS63 | Implement & monitor power system environmental & sustainable energy management policies & procedures Electrotechnology Pathway Unit Group ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector ESI - TDR Pathway Unit Group ∟UETTDREL11 Apply sustainable energy and environmental procedures | 30 |
| UETTDRSB22 | Carry out power systems substation inspection Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector Pathway 1 - Electrician ∟UEENEEG103A Install low voltage wiring and accessories ∟UEENEEG104A Install appliances, switchgear and associated accessories for low voltage electrical installations ∟UEENEEG105A Verify compliance and functionality of low voltage general electrical installations ∟UEENEEG107A Select wiring systems and cables for low voltage general electrical installations Pathway 2 - Electrical Fitter ∟UEENEEG199A Conduct compliance and functional verification of electrical apparatus and existing circuits | 60 |
| UETTDRSB23 | Install and maintain substation direct current systems Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UEENEEG103A Install low voltage wiring and accessories ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG107A Select wiring systems and cables for low voltage general electrical installations ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector | 30 |
| Group A: Imported and common elective units |  | Weighting Points |
| BSBINM401 | Implement workplace information system | 40 |
| BSBLDR402 | Lead effective workplace relationships | 50 |
| BSBLDR403 | Lead team effectiveness | 50 |
| BSBMGT402 | Implement operational plan | 40 |
| BSBMGT403 | Implement continuous improvement | 40 |
| Group B: Qualification elective units |  | Weighting Points |
| UETTDRIS47 | Sample, test, filter and reinstate insulating oil Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector ∟UETTDREL16 Working safely near live electrical apparatus | 40 |
| UETTDRIS67 | Solve problems in energy supply network equipment Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits | 80 |
| UETTDRIS68 | Solve problems in energy supply network protection equipment and systems Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UETTDRIS67 Solve problems in energy supply network equipment | 40 |
| UETTDRSB29 | Maintain capacitor bank equipment for voltage regulation Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector | 40 |
| UETTDRSB33 | Install high voltage plant and equipment Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UEENEEG103A Install low voltage wiring and accessories ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG107A Select wiring systems and cables for low voltage general electrical installations ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector | 50 |
| UETTDRSB39 | Perform power system substation switching operation to a given schedule Electrical Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UETTDREL16 Working safely near live electrical apparatus Transmission Overhead Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRTP26 Install transmission structures and associated hardware ∟UETTDRTP27 Maintain transmission structures and associated hardware ∟UETTDRTP29 Install and maintain transmission overhead conductors and cables Distribution Overhead Pathway Group ∟UETTDRDP12 Maintain overhead energised low voltage conductors and cables ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRIS56 Install and maintain low voltage overhead services Rail Traction Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRRT21 Install traction overhead wiring systems ∟UETTDRRT22 Maintain traction overhead wiring systems ∟UETTDRRT23 Install rail traction bonds ∟UETTDRRT27 Install overhead traction components and equipment ∟UETTDRRT28 Maintain overhead traction components and equipment Distribution Cable Jointing Pathway Group ∟UETTDRCJ21 Lay ESI electrical cables ∟UETTDRCJ26 Install and maintain de-energised low voltage underground polymeric cables ∟UETTDRCJ27 Install and maintain de-energised high voltage underground polymeric cables ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS55 Install and maintain low voltage underground services Electrical Pathway Group ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector ∟UETTDRIS67 Solve problems in energy supply network equipment | 50 |
| Group C: Qualification elective units |  | Weighting Points |
| UETTDRSB21 | Diagnose and rectify faults in substation environment Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector Pathway 1 - Electrician ∟UEENEEG103A Install low voltage wiring and accessories ∟UEENEEG104A Install appliances, switchgear and associated accessories for low voltage electrical installations ∟UEENEEG105A Verify compliance and functionality of low voltage general electrical installations ∟UEENEEG107A Select wiring systems and cables for low voltage general electrical installations Pathway 2 - Electrical Fitter ∟UEENEEG199A Conduct compliance and functional verification of electrical apparatus and existing circuits | 40 |
| UETTDRSB24 | Maintain high voltage power system circuit breakers Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector Pathway 1 - Electrician ∟UEENEEG103A Install low voltage wiring and accessories ∟UEENEEG104A Install appliances, switchgear and associated accessories for low voltage electrical installations ∟UEENEEG105A Verify compliance and functionality of low voltage general electrical installations ∟UEENEEG107A Select wiring systems and cables for low voltage general electrical installations Pathway 2 - Electrical Fitter ∟UEENEEG199A Conduct compliance and functional verification of electrical apparatus and existing circuits | 60 |
| UETTDRSB25 | Maintain high voltage power and instrument transformers Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector Pathway 1 - Electrician ∟UEENEEG103A Install low voltage wiring and accessories ∟UEENEEG104A Install appliances, switchgear and associated accessories for low voltage electrical installations ∟UEENEEG105A Verify compliance and functionality of low voltage general electrical installations ∟UEENEEG107A Select wiring systems and cables for low voltage general electrical installations Pathway 2 - Electrical Fitter ∟UEENEEG199A Conduct compliance and functional verification of electrical apparatus and existing circuits | 80 |
| UETTDRSB26 | Install high current d.c. equipment and switchgear Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UEENEEG103A Install low voltage wiring and accessories ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG107A Select wiring systems and cables for low voltage general electrical installations ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector | 40 |
| UETTDRSB27 | Maintain high current d.c. equipment and switchgear Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector Pathway 1 - Electrician ∟UEENEEG103A Install low voltage wiring and accessories ∟UEENEEG104A Install appliances, switchgear and associated accessories for low voltage electrical installations ∟UEENEEG105A Verify compliance and functionality of low voltage general electrical installations ∟UEENEEG107A Select wiring systems and cables for low voltage general electrical installations Pathway 2 - Electrical Fitter ∟UEENEEG199A Conduct compliance and functional verification of electrical apparatus and existing circuits | 40 |
| UETTDRSB30 | Maintain high voltage power system static VAR compensators (SVC) Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector ∟UETTDRSB25 Maintain high voltage power and instrument transformers ∟UETTDRSB29 Maintain capacitor bank equipment for voltage regulation Pathway 1 - Electrician ∟UEENEEG103A Install low voltage wiring and accessories ∟UEENEEG104A Install appliances, switchgear and associated accessories for low voltage electrical installations ∟UEENEEG105A Verify compliance and functionality of low voltage general electrical installations ∟UEENEEG107A Select wiring systems and cables for low voltage general electrical installations Pathway 2 - Electrical Fitter ∟UEENEEG199A Conduct compliance and functional verification of electrical apparatus and existing circuits | 30 |
| UETTDRSB31 | Maintain high voltage power system synchronous condensers Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector Pathway 1 - Electrician ∟UEENEEG103A Install low voltage wiring and accessories ∟UEENEEG104A Install appliances, switchgear and associated accessories for low voltage electrical installations ∟UEENEEG105A Verify compliance and functionality of low voltage general electrical installations ∟UEENEEG107A Select wiring systems and cables for low voltage general electrical installations Pathway 2 - Electrical Fitter ∟UEENEEG199A Conduct compliance and functional verification of electrical apparatus and existing circuits | 50 |
| UETTDRSB32 | Maintain power transformer on load tap changers (OLTC) Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector ∟UETTDRSB25 Maintain high voltage power and instrument transformers Pathway 1 - Electrician ∟UEENEEG103A Install low voltage wiring and accessories ∟UEENEEG104A Install appliances, switchgear and associated accessories for low voltage electrical installations ∟UEENEEG105A Verify compliance and functionality of low voltage general electrical installations ∟UEENEEG107A Select wiring systems and cables for low voltage general electrical installations Pathway 2 - Electrical Fitter ∟UEENEEG199A Conduct compliance and functional verification of electrical apparatus and existing circuits | 80 |
| UETTDRSB34 | Carry out surveys using thermovision techniques Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector Pathway 1 - Electrician ∟UEENEEG103A Install low voltage wiring and accessories ∟UEENEEG104A Install appliances, switchgear and associated accessories for low voltage electrical installations ∟UEENEEG105A Verify compliance and functionality of low voltage general electrical installations ∟UEENEEG107A Select wiring systems and cables for low voltage general electrical installations Pathway 2 - Electrical Fitter ∟UEENEEG199A Conduct compliance and functional verification of electrical apparatus and existing circuits | 30 |
| UETTDRSB35 | Maintain discrete control and protection systems Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector Pathway 1 - Electrician ∟UEENEEG103A Install low voltage wiring and accessories ∟UEENEEG104A Install appliances, switchgear and associated accessories for low voltage electrical installations ∟UEENEEG105A Verify compliance and functionality of low voltage general electrical installations ∟UEENEEG107A Select wiring systems and cables for low voltage general electrical installations Pathway 2 - Electrical Fitter ∟UEENEEG199A Conduct compliance and functional verification of electrical apparatus and existing circuits | 80 |
| UETTDRSB36 | Commission discrete control and protection systems Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector ∟UETTDRSB25 Maintain high voltage power and instrument transformers ∟UETTDRSB29 Maintain capacitor bank equipment for voltage regulation Pathway 1 - Electrician ∟UEENEEG103A Install low voltage wiring and accessories ∟UEENEEG104A Install appliances, switchgear and associated accessories for low voltage electrical installations ∟UEENEEG105A Verify compliance and functionality of low voltage general electrical installations ∟UEENEEG107A Select wiring systems and cables for low voltage general electrical installations Pathway 2 - Electrical Fitter ∟UEENEEG199A Conduct compliance and functional verification of electrical apparatus and existing circuits | 30 |
| UETTDRSB37 | Maintain power system distribution field devices Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector Pathway 1 - Electrician ∟UEENEEG103A Install low voltage wiring and accessories ∟UEENEEG104A Install appliances, switchgear and associated accessories for low voltage electrical installations ∟UEENEEG105A Verify compliance and functionality of low voltage general electrical installations ∟UEENEEG107A Select wiring systems and cables for low voltage general electrical installations Pathway 2 - Electrical Fitter ∟UEENEEG199A Conduct compliance and functional verification of electrical apparatus and existing circuits | 80 |
| UETTDRSB38 | Commission power system distribution field devices Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector ∟UETTDRSB37 Maintain power system distribution field devices Pathway 1 - Electrician ∟UEENEEG103A Install low voltage wiring and accessories ∟UEENEEG104A Install appliances, switchgear and associated accessories for low voltage electrical installations ∟UEENEEG105A Verify compliance and functionality of low voltage general electrical installations ∟UEENEEG107A Select wiring systems and cables for low voltage general electrical installations Pathway 2 - Electrical Fitter ∟UEENEEG199A Conduct compliance and functional verification of electrical apparatus and existing circuits | 30 |

# Qualification Mapping Information

This qualification replaces and is equivalent to UET40512 Certificate IV in ESI - Power Systems Substations

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7