# UET40619 Certificate IV in ESI - Power Systems Network Infrastructure

Release 2

UET40619 Certificate IV in ESI - Power Systems Network Infrastructure

# Modification History

Release 2. Removed deleted units UETTDRRT34, UETTDRRT35, UETTDRRT36 and UETTDRRT37 from the qualification due to zero enrolments. Release 1. This is the first release of this qualification in the UET Transmission, Distribution and Rail Sector Training Package

# Qualification Description

This qualification provides the skills and knowledge to work on power system network infrastructure in the electricity supply industry (ESI). This qualification covers the selection, installation, set up, testing, fault finding, repair and maintenance of electrical systems and equipment in buildings and premises. It includes skills and knowledge needed for a career in installation and maintenance of network infrastructure in the transmission, distribution or rail traction in the electricity supply industry. It includes Electrical Regulatory Authorities Council (ERAC) requirements for an Electrician’s licence. Competency development activities in this qualification are subject to regulations directly related to licencing. The skills and knowledge described within the units in this qualification may require a licence or permit to practice in the workplace. Additional and/or other conditions may also apply under state and territory legislative and regulatory licencing requirements which must be confirmed prior to commencing the qualification.

# Entry Requirements

There are no entry requirements for this qualification

# Packaging Rules

| A total of 1280 weighting points comprising: 940 core weighting points listed below; plus 340 general elective weighting points from the general elective units listed below. Choose a total of 340 weighting points elective units from the list below, of which between 0 and 50 weighting points can be taken from Group A; between 0 and 140 weighting points can be taken from Group B; and between 200 and 340 weighting points taken from Group C. You may select all your electives from this group. Up to 50 weighting points of the general elective units Group A may be selected, with appropriate contextualisation, from any relevant nationally endorsed Training Package or accredited course, provided selected units contribute to the vocational outcome of the qualification. Previously assigned weighting points are listed in UET Transmission, Distribution and Rail Sector Training Package Companion Volume Implementation Guide, if not listed weighting points will be 10 points. Where imported units are selected, care must be taken to ensure all prerequisite units specified are complied with. |  |  |
| --- | --- | --- |
| Core units |  | Weighting Points |
| UEENEEE101A | Apply Occupational Health and Safety regulations, codes and practices in the workplace | 20 |
| UEENEEE102A | Fabricate, assemble and dismantle utilities industry components ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace | 40 |
| UEENEEE104A | Solve problems in d.c. circuits ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace | 80 |
| UEENEEE105A | Fix and secure electrotechnology equipment ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace | 20 |
| UEENEEE107A | Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace | 40 |
| UEENEEE137A | Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace | 20 |
| UEENEEG006A | Solve problems in single and three phase low voltage machines ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, dismantle, assemble of electrotechnology components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuit ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits | 80 |
| UEENEEG033A | Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, dismantle, assemble of electrotechnology components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuit ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits | 60 |
| UEENEEG063A | Arrange circuits, control and protection for general electrical installations ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, dismantle, assemble of electrotechnology components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnolgy equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuit ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits | 40 |
| UEENEEG101A | Solve problems in electromagnetic devices and related circuits ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE104A Solve problems in d.c. circuits | 60 |
| UEENEEG102A | Solve problems in low voltage a.c. circuits ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits | 80 |
| UEENEEG103A | Install low voltage wiring and accessories ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, dismantle, assemble of electrotechnology components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuit ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG107A Select wiring systems and cables for low voltage general electrical installations ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits | 20 |
| UEENEEG104A | Install appliances, switchgear and associated accessories for low voltage electrical installations ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, dismantle, assemble of electrotechnology components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuit ∟UEENEEG103A Install low voltage wiring and accessories ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG107A Select wiring systems and cables for low voltage general electrical installations ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits | 20 |
| UEENEEG105A | Verify compliance and functionality of low voltage general electrical installations ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, dismantle, assemble of electrotechnology components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuit ∟UEENEEG103A Install low voltage wiring and accessories ∟UEENEEG104A Install appliances, switchgear and associated accessories for low voltage electrical installations ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG107A Select wiring systems and cables for low voltage general electrical installations ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits Conditions: Those holding an ‘Unrestricted Electrician’s Licence’ or equivalent issued in an Australian State or Territory meet the requirements of this unit and its prerequisite requirements. A ‘licensed electrician’ applying for an ‘electrical contractors licence’ may be required to undertake this unit to demonstrate their currency with verification of compliance requirements. In this case they are deemed to have met the prerequisites for this unit provided that: they hold a current ‘electricians licence’ or its equivalent issued in an Australian State or Territory and have recently been in permanent employment as a licensed electrician sufficient to evidence current knowledge of applicable standards and regulations. | 40 |
| UEENEEG106A | Terminate cables, cords and accessories for low voltage circuits ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications | 40 |
| UEENEEG107A | Select wiring systems and cables for low voltage general electrical installations ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, dismantle, assemble of electrotechnology components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuit ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits | 60 |
| UEENEEG108A | Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, dismantle, assemble of utilities components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits | 40 |
| UEENEEG109A | Develop and connect electrical control circuits ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, dismantle, assemble of electrotechnology components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuit ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits | 80 |
| UEENEEK142A | Apply environmentally and sustainable procedures in the energy sector | 20 |
| UETTDREL16 | Working safely near live electrical apparatus | 20 |
| UETTDRIS62 | Implement and monitor the power system organisational WHS/OHS policies, procedures and programs Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UETTDREL16 Working safely near live electrical apparatus | 30 |
| UETTDRIS63 | Implement & monitor power system environmental & sustainable energy management policies & procedures Electrotechnology Pathway Unit Group ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector ESI - TDR Pathway Unit Group ∟UETTDREL11 Apply sustainable energy and environmental procedures | 30 |
| Group A: Imported and common elective units |  | Weighting Points |
| BSBINM401 | Implement workplace information system | 40 |
| BSBLDR402 | Lead effective workplace relationships | 50 |
| BSBLDR403 | Lead team effectiveness | 50 |
| BSBMGT402 | Implement operational plan | 40 |
| BSBMGT403 | Implement continuous improvement | 40 |
| Group B: Qualification elective units |  | Weighting Points |
| UEENEEG171A | Install, set up and commission interval metering ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, dismantle, assemble of electrotechnology components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuit ∟UEENEEG103A Install low voltage wiring and accessories ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG107A Select wiring systems and cables for low voltage general electrical installations ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEG104A Install appliances, switchgear and associated accessories for low voltage electrical installations | 20 |
| UETTDRIS43 | Perform low voltage field switching operation to a given schedule Electrical Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UETTDREL16 Working safely near live electrical apparatus Transmission Overhead Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRTP26 Install transmission structures and associated hardware ∟UETTDRTP27 Maintain transmission structures and associated hardware ∟UETTDRTP29 Install and maintain transmission overhead conductors and cables Distribution Overhead Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDRDP12 Maintain overhead energised low voltage conductors and cables ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRIS56 Install and maintain low voltage overhead services Rail Traction Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRRT21 Install traction overhead wiring systems ∟UETTDRRT22 Maintain traction overhead wiring systems ∟UETTDRRT23 Install rail traction bonds ∟UETTDRRT27 Install overhead traction components and equipment ∟UETTDRRT28 Maintain overhead traction components and equipment Distribution Cable Jointing Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDRCJ21 Lay ESI electrical cables ∟UETTDRCJ26 Install and maintain de-energised low voltage underground polymeric cables ∟UETTDRCJ27 Install and maintain de-energised high voltage underground polymeric cables ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS55 Install and maintain low voltage underground services Electrical Pathway Group ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector ∟UETTDRIS67 Solve problems in energy supply network equipment | 50 |
| UETTDRIS44 | Perform HV field switching operation to a given schedule Electrical Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UETTDREL16 Working safely near live electrical apparatus Transmission Overhead Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRTP26 Install transmission structures and associated hardware ∟UETTDRTP27 Maintain transmission structures and associated hardware ∟UETTDRTP29 Install and maintain transmission overhead conductors and cables Distribution Overhead Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDRDP12 Maintain overhead energised low voltage conductors and cables ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRIS56 Install and maintain low voltage overhead services Rail Traction Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRRT21 Install traction overhead wiring systems ∟UETTDRRT22 Maintain traction overhead wiring systems ∟UETTDRRT23 Install rail traction bonds ∟UETTDRRT27 Install overhead traction components and equipment ∟UETTDRRT28 Maintain overhead traction components and equipment Distribution Cable Jointing Pathway Group ∟UETTDRCJ21 Lay ESI electrical cables ∟UETTDRCJ26 Install and maintain de-energised low voltage underground polymeric cables ∟UETTDRCJ27 Install and maintain de-energised high voltage underground polymeric cables ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS55 Install and maintain low voltage underground services Electrical Pathway Group ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector ∟UETTDRIS67 Solve problems in energy supply network equipment | 50 |
| UETTDRIS47 | Sample, test, filter and reinstate insulating oil Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector ∟UETTDREL16 Working safely near live electrical apparatus | 40 |
| UETTDRIS67 | Solve problems in energy supply network equipment Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits | 80 |
| UETTDRIS68 | Solve problems in energy supply network protection equipment and systems Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UETTDRIS67 Solve problems in energy supply network equipment | 40 |
| UETTDRSB39 | Perform power system substation switching operation to a given schedule Electrical Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UETTDREL16 Working safely near live electrical apparatus Transmission Overhead Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRTP26 Install transmission structures and associated hardware ∟UETTDRTP27 Maintain transmission structures and associated hardware ∟UETTDRTP29 Install and maintain transmission overhead conductors and cables Distribution Overhead Pathway Group ∟UETTDRDP12 Maintain overhead energised low voltage conductors and cables ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRIS56 Install and maintain low voltage overhead services Rail Traction Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRRT21 Install traction overhead wiring systems ∟UETTDRRT22 Maintain traction overhead wiring systems ∟UETTDRRT23 Install rail traction bonds ∟UETTDRRT27 Install overhead traction components and equipment ∟UETTDRRT28 Maintain overhead traction components and equipment Distribution Cable Jointing Pathway Group ∟UETTDRCJ21 Lay ESI electrical cables ∟UETTDRCJ26 Install and maintain de-energised low voltage underground polymeric cables ∟UETTDRCJ27 Install and maintain de-energised high voltage underground polymeric cables ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS55 Install and maintain low voltage underground services Electrical Pathway Group ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector ∟UETTDRIS67 Solve problems in energy supply network equipment | 50 |
| Group C: Qualification elective units |  | Weighting Points |
| UEENEEG076A | Install and replace low voltage current transformer metering Note: Those holding an ‘Unrestricted Electrician’s Licence’ or equivalent issued in an Australian State or Territory meet the prerequisite requirements of this unit. ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, dismantle, assemble of electrotechnology components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuit ∟UEENEEG103A Install low voltage wiring and accessories ∟UEENEEG104A Install appliances, switchgear and associated accessories for low voltage electrical installations ∟UEENEEG105A Verify compliance and functionality of low voltage general electrical installations ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG107A Select wiring systems and cables for low voltage general electrical installations ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits | 20 |
| UETTDRCJ33 | Install and maintain network infrastructure LV underground cables Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UEENEEG103A Install low voltage wiring and accessories ∟UEENEEG104A Install appliances, switchgear and associated accessories for low voltage electrical installations ∟UEENEEG105A Verify compliance and functionality of low voltage general electrical installations ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG107A Select wiring systems and cables for low voltage general electrical installations ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector ∟UETTDREL16 Working safely near live electrical apparatus ∟UETTDRIS46 Install and maintain ESI network infrastructure electrical equipment ∟UETTDRIS62 Implement and monitor the power system organisational WHS/OHS policies, procedures and programs ∟UETTDRIS63 Implement & monitor power system environmental & sustainable energy management policies & procedures | 40 |
| UETTDRCJ34 | Install and maintain network infrastructure HV underground cables Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UEENEEG103A Install low voltage wiring and accessories ∟UEENEEG104A Install appliances, switchgear and associated accessories for low voltage electrical installations ∟UEENEEG105A Verify compliance and functionality of low voltage general electrical installations ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG107A Select wiring systems and cables for low voltage general electrical installations ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector ∟UETTDRCJ33 Install and maintain network infrastructure LV underground cables ∟UETTDREL16 Working safely near live electrical apparatus ∟UETTDRIS46 Install and maintain ESI network infrastructure electrical equipment ∟UETTDRIS62 Implement and monitor the power system organisational WHS/OHS policies, procedures and programs ∟UETTDRIS63 Implement & monitor power system environmental & sustainable energy management policies & procedures | 50 |
| UETTDRDP15 | Inspect, maintain and restore energised low voltage overhead distribution network infrastructure Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UEENEEG103A Install low voltage wiring and accessories ∟UEENEEG104A Install appliances, switchgear and associated accessories for low voltage electrical installations ∟UEENEEG105A Verify compliance and functionality of low voltage general electrical installations ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG107A Select wiring systems and cables for low voltage general electrical installations ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector ∟UETTDREL16 Working safely near live electrical apparatus ∟UETTDRIS46 Install and maintain ESI network infrastructure electrical equipment ∟UETTDRIS62 Implement and monitor the power system organisational WHS/OHS policies, procedures and programs ∟UETTDRIS63 Implement & monitor power system environmental & sustainable energy management policies & procedures ∟UETTDRIS67 Solve problems in energy supply network equipment | 50 |
| UETTDRIS46 | Install and maintain ESI network infrastructure electrical equipment Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UEENEEG103A Install low voltage wiring and accessories ∟UEENEEG104A Install appliances, switchgear and associated accessories for low voltage electrical installations ∟UEENEEG105A Verify compliance and functionality of low voltage general electrical installations ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG107A Select wiring systems and cables for low voltage general electrical installations ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector ∟UETTDREL16 Working safely near live electrical apparatus ∟UETTDRIS62 Implement and monitor the power system organisational WHS/OHS policies, procedures and programs ∟UETTDRIS63 Implement & monitor power system environmental & sustainable energy management policies & procedures | 40 |
| UETTDRIS48 | Develop high voltage switching schedule Electrical Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UETTDREL16 Working safely near live electrical apparatus ∟UETTDRIS44 Perform HV field switching operation to a given schedule Transmission Overhead Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRTP26 Install transmission structures and associated hardware ∟UETTDRTP27 Maintain transmission structures and associated hardware ∟UETTDRTP29 Install and maintain transmission overhead conductors and cables Distribution Overhead Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDRDP12 Maintain overhead energised low voltage conductors and cables ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRIS56 Install and maintain low voltage overhead services Rail Traction Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRRT21 Install traction overhead wiring systems ∟UETTDRRT22 Maintain traction overhead wiring systems ∟UETTDRRT23 Install rail traction bonds ∟UETTDRRT27 Install overhead traction components and equipment ∟UETTDRRT28 Maintain overhead traction components and equipment Distribution Cable Jointing Pathway Group ∟UETTDRCJ21 Lay ESI electrical cables ∟UETTDRCJ26 Install and maintain de-energised low voltage underground polymeric cables ∟UETTDRCJ27 Install and maintain de-energised high voltage underground polymeric cables ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS55 Install and maintain low voltage underground services Electrical Pathway Group ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector ∟UETTDRIS67 Solve problems in energy supply network equipment | 40 |
| UETTDRIS49 | Develop low voltage switching schedule Electrical Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UETTDREL16 Working safely near live electrical apparatus ∟UETTDRIS43 Perform low voltage field switching operation to a given schedule Transmission Overhead Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRTP26 Install transmission structures and associated hardware ∟UETTDRTP27 Maintain transmission structures and associated hardware ∟UETTDRTP29 Install and maintain transmission overhead conductors and cables Distribution Overhead Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDRDP12 Maintain overhead energised low voltage conductors and cables ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRIS56 Install and maintain low voltage overhead services Rail Traction Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRRT21 Install traction overhead wiring systems ∟UETTDRRT22 Maintain traction overhead wiring systems ∟UETTDRRT23 Install rail traction bonds ∟UETTDRRT27 Install overhead traction components and equipment ∟UETTDRRT28 Maintain overhead traction components and equipment Distribution Cable Jointing Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDRCJ21 Lay ESI electrical cables ∟UETTDRCJ26 Install and maintain de-energised low voltage underground polymeric cables ∟UETTDRCJ27 Install and maintain de-energised high voltage underground polymeric cables ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS55 Install and maintain low voltage underground services Electrical Pathway Group ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector ∟UETTDRIS67 Solve problems in energy supply network equipment | 40 |
| UETTDRIS50 | Coordinate power system permit procedures Electrical Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UETTDREL16 Working safely near live electrical apparatus Transmission Overhead Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS44 Perform HV field switching operation to a given schedule ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRTP26 Install transmission structures and associated hardware ∟UETTDRTP27 Maintain transmission structures and associated hardware ∟UETTDRTP29 Install and maintain transmission overhead conductors and cables Distribution Overhead Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDRDP12 Maintain overhead energised low voltage conductors and cables ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS43 Perform low voltage field switching operation to a given schedule ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRIS56 Install and maintain low voltage overhead services Rail Traction Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRRT21 Install traction overhead wiring systems ∟UETTDRRT22 Maintain traction overhead wiring systems ∟UETTDRRT23 Install rail traction bonds ∟UETTDRRT27 Install overhead traction components and equipment ∟UETTDRRT28 Maintain overhead traction components and equipment ∟UETTDRRT30 Perform to a given schedule rail traction switching operations Distribution Cable Jointing Pathway Group ∟UETTDRCJ21 Lay ESI electrical cables ∟UETTDRCJ26 Install and maintain de-energised low voltage underground polymeric cables ∟UETTDRCJ27 Install and maintain de-energised high voltage underground polymeric cables ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS43 Perform low voltage field switching operation to a given schedule ∟UETTDRIS55 Install and maintain low voltage underground services Electrical Pathway Group ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector ∟UETTDRIS67 Solve problems in energy supply network equipment ∟UETTDRSB39 Perform power system substation switching operation to a given schedule | 40 |
| UETTDRIS51 | Coordinate and direct power system switching schedules Electrical Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UETTDREL16 Working safely near live electrical apparatus Transmission Overhead Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS44 Perform HV field switching operation to a given schedule ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRTP26 Install transmission structures and associated hardware ∟UETTDRTP27 Maintain transmission structures and associated hardware ∟UETTDRTP29 Install and maintain transmission overhead conductors and cables Distribution Overhead Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDRDP12 Maintain overhead energised low voltage conductors and cables ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS43 Perform low voltage field switching operation to a given schedule ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRIS56 Install and maintain low voltage overhead services Rail Traction Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRRT21 Install traction overhead wiring systems ∟UETTDRRT22 Maintain traction overhead wiring systems ∟UETTDRRT23 Install rail traction bonds ∟UETTDRRT27 Install overhead traction components and equipment ∟UETTDRRT28 Maintain overhead traction components and equipment ∟UETTDRRT30 Perform to a given schedule rail traction switching operations Distribution Cable Jointing Pathway Group ∟UETTDRCJ21 Lay ESI electrical cables ∟UETTDRCJ26 Install and maintain de-energised low voltage underground polymeric cables ∟UETTDRCJ27 Install and maintain de-energised high voltage underground polymeric cables ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS43 Perform low voltage field switching operation to a given schedule ∟UETTDRIS55 Install and maintain low voltage underground services Electrical Pathway Group ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector ∟UETTDRIS67 Solve problems in energy supply network equipment ∟UETTDRSB39 Perform power system substation switching operation to a given schedule | 40 |
| UETTDRSB39 | Perform power system substation switching operation to a given schedule Electrical Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UETTDREL16 Working safely near live electrical apparatus Transmission Overhead Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRTP26 Install transmission structures and associated hardware ∟UETTDRTP27 Maintain transmission structures and associated hardware ∟UETTDRTP29 Install and maintain transmission overhead conductors and cables Distribution Overhead Pathway Group ∟UETTDRDP12 Maintain overhead energised low voltage conductors and cables ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRIS56 Install and maintain low voltage overhead services Rail Traction Pathway Group ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS52 Install and maintain poles, structures and associated hardware ∟UETTDRIS54 Install and maintain poles, structures and overhead conductors and cables ∟UETTDRRT21 Install traction overhead wiring systems ∟UETTDRRT22 Maintain traction overhead wiring systems ∟UETTDRRT23 Install rail traction bonds ∟UETTDRRT27 Install overhead traction components and equipment ∟UETTDRRT28 Maintain overhead traction components and equipment Distribution Cable Jointing Pathway Group ∟UETTDRCJ21 Lay ESI electrical cables ∟UETTDRCJ26 Install and maintain de-energised low voltage underground polymeric cables ∟UETTDRCJ27 Install and maintain de-energised high voltage underground polymeric cables ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL12 Operate plant and equipment near live electrical conductors and apparatus ∟UETTDRIS41 Install network infrastructure electrical equipment ∟UETTDRIS42 Maintain network infrastructure electrical equipment ∟UETTDRIS55 Install and maintain low voltage underground services Electrical Pathway Group ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector ∟UETTDRIS67 Solve problems in energy supply network equipment | 50 |
| UETTDRTP34 | Install/maintain overhead transmission network infrastructure Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UEENEEG103A Install low voltage wiring and accessories ∟UEENEEG104A Install appliances, switchgear and associated accessories for low voltage electrical installations ∟UEENEEG105A Verify compliance and functionality of low voltage general electrical installations ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG107A Select wiring systems and cables for low voltage general electrical installations ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector ∟UETTDREL16 Working safely near live electrical apparatus ∟UETTDRIS62 Implement and monitor the power system organisational WHS/OHS policies, procedures and programs ∟UETTDRIS63 Implement & monitor power system environmental & sustainable energy management policies & procedures ∟UETTDRIS67 Solve problems in energy supply network equipment | 40 |
| UETTDRTP35 | Install/maintain transmission network infrastructure electrical equipment Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UEENEEG103A Install low voltage wiring and accessories ∟UEENEEG104A Install appliances, switchgear and associated accessories for low voltage electrical installations ∟UEENEEG105A Verify compliance and functionality of low voltage general electrical installations ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG107A Select wiring systems and cables for low voltage general electrical installations ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEK142A Apply environmentally and sustainable procedures in the energy sector ∟UETTDREL16 Working safely near live electrical apparatus ∟UETTDRIS62 Implement and monitor the power system organisational WHS/OHS policies, procedures and programs ∟UETTDRIS63 Implement & monitor power system environmental & sustainable energy management policies & procedures ∟UETTDRIS67 Solve problems in energy supply network equipment ∟UETTDRTP34 Install/maintain overhead transmission network infrastructure | 40 |
| UETTDRTS37 | Perform current injection testing using phantom load Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UEENEEG103A Install low voltage wiring and accessories ∟UEENEEG104A Install appliances, switchgear and associated accessories for low voltage electrical installations ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG107A Select wiring systems and cables for low voltage general electrical installations ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEG171A Install, set up and commission interval metering ∟UETTDREL11 Apply sustainable energy and environmental procedures | 40 |
| UETTDRTS38 | Install and replace high voltage metering and associated equipment Common Unit Group ∟UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace ∟UEENEEE102A Fabricate, assemble and dismantle utilities industry components ∟UEENEEE104A Solve problems in d.c. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications ∟UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG076A Install and replace low voltage current transformer metering ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage a.c. circuits ∟UEENEEG103A Install low voltage wiring and accessories ∟UEENEEG104A Install appliances, switchgear and associated accessories for low voltage electrical installations ∟UEENEEG105A Verify compliance and functionality of low voltage general electrical installations ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits ∟UEENEEG107A Select wiring systems and cables for low voltage general electrical installations ∟UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEG109A Develop and connect electrical control circuits ∟UEENEEG171A Install, set up and commission interval metering ∟UETTDREL11 Apply sustainable energy and environmental procedures ∟UETTDREL16 Working safely near live electrical apparatus ∟UETTDRTS37 Perform current injection testing using phantom load | 40 |

# Qualification Mapping Information

This qualification replaces and is equivalent to UET40612 Certificate IV in ESI - Power Systems Network Infrastructure

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7